## Sheet1
1 | 1 | home | divmain
1 | 2 | eSOMS Tutorial | pagetitle
1 | 3 | home | divopen
1 | 4 | Introduction | h1
1 | 5 | <i>eSOMS</i> is a human performance improvement tool designed to modernize gathering, recording, and accessing of instrument readings. <i>eSOMS</i> is grade D, quality-affecting software according to the approved Software Grading Checklist in the <i>Hanford System Inventory System</i> (HISI). <i>eSOMS</i> supports <i>Tank Operations Contractor</i> (TOC) operations by improving data gathering and viewing. It provides the following: | p
1 | 6 | <ul type="square"> | AsIs
1 | 7 | Replaces the costly and error prone paper rounds system employed by tank farms today | li
1 | 8 | Provide seamless integration with <i>Monitoring and Control Systems</i> (MCSs) and data historians creating a unified view of instrumentation data | li
1 | 9 | Provides a web-based interface for accessing data anywhere <i>Hanford Local Area Network</i> (HLAN) is available | li
1 | 10 | Automatic identification and notification of out-of-spec data | li
1 | 11 | Provides mobile on-the-spot data entry and trending of data | li
1 | 12 | </ul> | AsIs
1 | 13 | home | break
1 | 14 | Purpose | h1
1 | 15 | The purpose of this tutorial is to provide a thorough, user-friendly platform in which to learn how to effectively manage and control the <i>eSOMS</i> system and its associated software components. You will be provided with the information necessary to: | p
1 | 16 | <ul type="square"> | AsIs
1 | 17 | Sync the <i>Mesa</i> mobile device with your computer | li
1 | 18 | Find, manage, create, remove, and update tank farm equipment | li
1 | 19 | Create, remove, and update tank farm tours | li
1 | 20 | View historical eRounds data | li
1 | 21 | Utilize historical data for graphical analysis, and to view data trends | li
1 | 22 | </ul> | AsIs
1 | 23 |  | divclose
1 | 24 |  | divclose
2 | 1 | pages | divmain
2 | 2 | eSOMS Login | pagetitle
2 | 3 | pages | divopen
2 | 4 | Introduction | h1
2 | 5 | In order to use <i>eSOMS</i>, whether on the handheld device or using the web application for your computer, you must first login. Follow the steps below to log into <i>eSOMS</i> on both devices. | p
2 | 6 | pages | break
2 | 7 | eSOMS Web Application | h1 id="web-app"
2 | 8 | To log into the <i>eSOMS</i> web application on your computer you must first open your browser and navigate to the <a href="http://erounds.wrps.rl.gov/login.aspx " target="_blank"><i>eSOMS SUITE</i></a> webpage. You can find the link for the application in <i>myPortal</i> by "clicking" the <i>eTools</i> dropdown menu and selecting the <i>eRounds</i> option. | p
2 | 9 | eSOMS-login/webapp-login | img
2 | 10 | Enter your credentials on this screen and "click" the <i>Login</i> button. | p
2 | 11 | Note: If you receive the error that is in the following image, then you may not have the correct "permissions" set up, or there may be a default password which needs to be entered on your initial login. | note
2 | 12 | eSOMS-login/error-invalid-login | img
2 | 13 |  | divclose
2 | 14 | pages | divopen
2 | 15 | After the default password is used you will be prompted to enter a new password. Your new password must have '8' characters, and must include at least 1 letter, 1 number character, and there must be a total of 6 characters used. Passwords are not case-sensitive so there is no need to use capital letters when creating your password. | p
2 | 16 | pages | break
2 | 17 | When you successfully login to <i>eSOMS</i> the homepage will be loaded, and it will look like the following. | p
2 | 18 | eSOMS-login/webapp-login-success | img
2 | 19 |  | divclose
2 | 20 | pages | divopen
2 | 21 | You will notice that your name will be displayed near the top-left corner of the window, and you now have access to the various <i>eSOMS</i> tools via dropdown menus. | p
2 | 22 | Note: The credentials used to log into <i>eSOMS</i> on your computer will be the same credentials used to log into <i>eSOMS</i> on the <i>Mesa</i> mobile device. | note
2 | 23 | pages | break
2 | 24 | eSOMS Mobile | h1 id="mobile"
2 | 25 | To log into <i>eSOMS</i> on the <i>Mesa</i> device you must first open the <i>eSOMS Rounds</i> application. The application can be accessed from either of the below screens, or it can additionally be accessed by pressing the button on the lower keypad, next to the power button. | p
2 | 26 | <table class="img-table"><tr><td> <!-- table is used to display images side-by-side --> | AsIs
2 | 27 | eSOMS-login/eSOMS-icon2 | imgmesa
2 | 28 | </td><td></td><td> | AsIs
2 | 29 | eSOMS-login/eSOMS-icon1 | imgmesa
2 | 30 | </td></tr></table> | AsIs
2 | 31 |  | divclose
2 | 32 | pages | divopen
2 | 33 | When the <i>eSOMS Rounds</i> icon is pressed, one of the following two screens will appear. The screen on the left-hand side indicates that someone is already currently logged into the device. | p
2 | 34 | <table class="img-table"><tr><td> <!-- table is used to display images side-by-side --> | AsIs
2 | 35 | eSOMS-login/mesa_login | imgmesa
2 | 36 | </td><td></td><td> | AsIs
2 | 37 | eSOMS-login/mesa_login2 | imgmesa
2 | 38 | </td></tr></table> | AsIs
2 | 39 |  | divclose
2 | 40 | pages | divopen
2 | 41 | If someone else is still logged into the device, then you will need to log them out prior to you logging in. You can do this be selecting the <i>Login – Logout</i> option in the <i>Tools</i> dropdown menu. | p
2 | 42 | eSOMS-login/mesa-logout | imgmesa
2 | 43 |  | divclose
2 | 44 | pages | divopen
2 | 45 | The login screen that was on the right-hand side of the previous set of images has fields for the users' credentials. Input your credentials into the fields and "press" <i>OK</i>. | p
2 | 46 | Note: The credentials used to log into <i>eSOMS</i> on the <i>Mesa</i> mobile device will be the same credentials used to log into <i>eSOMS</i> on your computer. | note
2 | 47 | pages | break
2 | 48 | If you receive the error that is in the following image, then it simply means there is no record on the device of you previously logging in. | p
2 | 49 | eSOMS-login/mesa_usr_not_found | imgmesa
2 | 50 |  | divclose
2 | 51 | pages | divopen
2 | 52 | This means you must use a "Synchronized" login. Press the <i>OK</i> to exit the error message, and select <i>Synchronize</i> from the <i>Tools</i> dropdown menu. | p
2 | 53 | eSOMS-login/mesa-sync-dropdown | imgmesa
2 | 54 |  | divclose
2 | 55 | pages | divopen
2 | 56 | You should then be prompted for your credentials again, but from an alternative login screen. After you enter your credentials, press <i>OK</i> to login. | p
2 | 57 | Note: If you are still not able to login, then you may not have the correct "permissions" set up, or there may be a default password which needs to be entered on your initial login. | note
2 | 58 | eSOMS-login/mesa_login_sync | imgmesa
2 | 59 |  | divclose
2 | 60 |  | divclose
3 | 1 | pages | divmain
3 | 2 | Sync Device | pagetitle
3 | 3 | pages | divopen
3 | 4 | Introduction | h1
3 | 5 | In order to upload <i>eRounds</i> from the Mesa mobile device to your desktop you must first sync the device with your computer. This is done using a program which is readily available via the <i>Software Distribution</i> website. Follow the steps below to sync your mobile device with your computer. | p
3 | 6 | pages | break
3 | 7 | Desktop Setup | h1 id="desktop-setup"
3 | 8 | In <a href=" http://gss.rl.gov/softdist/beforetxt.asp?path=winsys\\activsync\\msas45\\&nai=msas45a.na&app=ActiveSync+4%2E5+%2F+Mobile+Device+Center+6 " target="_blank"><i>Software Distribution</i></a> search for "ActiveSync." Download and install <i>ActiveSync4.5/Mobile Device Center 6</i>. When the program is installed and ran for the first time it will look like the screenshot to the left. | p
3 | 9 | sync-device/active_sync | img
3 | 10 |  | divclose
3 | 11 | pages | divopen
3 | 12 | After the application has been installed there are necessary steps to be completed for both the Windows Mobile desktop application and the Mesa mobile device. | p
3 | 13 | pages | break
3 | 14 | Windows Mobile Interface | h1
3 | 15 | <ul type="square"> | AsIs
3 | 16 | Open the <i>Windows Mobile</i> application | li
3 | 17 | Select the option "Connect without setting up your device" | li
3 | 18 | </ul> | AsIs
3 | 19 | sync-device/active_sync2 | img
3 | 20 | pages | break
3 | 21 | Mesa Device | h1 id="mesa-device"
3 | 22 | <ul type="square"> | AsIs
3 | 23 | Ensure the <i>Mesa</i> device is turned on | li
3 | 24 | Select the <i>eSOMS Rounds</i> application | li
3 | 25 | </ul> | AsIs
3 | 26 | Note: The application can be accessed from either of the below screens, or it can additionally be accessed by pressing the button on the lower keypad, next to the power button. | note
3 | 27 | <table class="img-table"><tr><td> <!-- table is used to display images side-by-side --> | AsIs
3 | 28 | sync-device/mesa_home | imgmesa
3 | 29 | </td><td></td><td> | AsIs
3 | 30 | sync-device/mesa_home2 | imgmesa
3 | 31 | </td></tr></table> | AsIs
3 | 32 | pages | break
3 | 33 | Sync Device | h1
3 | 34 | After the <i>eSOMS Rounds</i> application is open on the <i>Mesa</i> device you will need to log in. Information on how to log in can be found in the <a href='eSOMSLogin' target="_blank"><i>Login</i></a> section of the tutorial. | p
3 | 35 | While the "main" application window of the application is displayed, press the <i>Tools</i> dropdown menu button and select <i>Synchronize</i> from the options. | p
3 | 36 | sync-device/mesa-data-dropdown | imgmesa
3 | 37 | pages | break
3 | 38 | Common Errors | h1 id="common-errors"
3 | 39 | If you receive the same screen shown in the following image, then your computer is not communicating with the <i>Mesa</i> device. | p
3 | 40 | sync-device/mesa_sync_fail | imgmesa
3 | 41 |  | divclose
3 | 42 | pages | divopen
3 | 43 | Exit the window, and ensure that the cable is connected to both your computer and the <i>Mesa</i> device. Next, restart <i>Windows Mobile</i>, press the "Connect without setting up your device" option and repeat the previous step. | p
3 | 44 | <p class="hangingindent" id="jumpto-note"><i>Note: If you receive the following error, then select the <b>Cancel</b> sync action, then press the <b>Window</b> button, and reselect the <b>eSOMS Rounds</b> application. After that, you will need to reopen the tour via the <b>Tools</b> dropdown menu, and close the tour properly by again pressing the <b>Tools</b> dropdown menu button and selecting the <b>Close</b> option. If the user is unknown and the tour is not accessible, then reset the mobile device.</i></p> | AsIs
3 | 45 | sync-device/error_open_items | imgmesa
3 | 46 |  | divclose
3 | 47 | pages | divopen
3 | 48 | If you receive a window resembling the following image, then you are ready for the next step. | p
3 | 49 | sync-device/mesa-sync-options | imgmesa
3 | 50 |  | divclose
3 | 51 | pages | divopen
3 | 52 | Check the box corresponding to the appropriate <i>Tour</i> in the correct <i>Tour Group</i>. Ensure the 'Scheduled' field has the appropriate date selected. There is also an additional option for 'Verbose Log' which allows for more comprehensive details to be uploaded with the tour. | p
3 | 53 | Press <i>OK</i>, and the synchronization should begin. | p
3 | 54 | sync-device/error_redX | imgmesa
3 | 55 | If the desired tour is already checked and the background of the check-box is red, then you will need to follow the same instructions given in the most recent "note". Click <a href="#jumpto-note">here</a> to return to the previous note. | p
3 | 56 |  | divclose
3 | 57 |  | divclose
4 | 1 | pages | divmain
4 | 2 | Manage Users/Groups | pagetitle
4 | 3 | pages | divopen
4 | 4 | Introduction | h1
4 | 5 | Privileges govern the rights of user and group accounts to perform the various operations of the <i>eSOMS</i> system. Some of these privileges are controlled at an individual specific level, hence “user” rights, and the others are controlled at a level which is determined by position, hence “group” rights. It is important to understand how to manage these groups. Follow the steps below to learn how to manage both the “User” rights and the “Group” rights. | p
4 | 6 | Manage Users | h1 id="manage-users"
4 | 7 | If you need to change a user’s personal information in <i>eSOMS</i>, view their current <i>eSOMS</i> security rights, change their group membership, or change someone’s password, it must be done in the <i>Manage Users</i> interface. To access the <i>Manage Users</i> interface you will need to select it from the <i>Administration</i> dropdown menu. | p
4 | 8 | manage-rights/manage-users-img1 | img
4 | 9 |  | divclose
4 | 10 | pages | divopen
4 | 11 | To manage a user-specific settings you must first search for the specific user using either the <i>Find</i> tool or the <i>Query</i> tool. The <i>Find</i> tool is relatively intuitive and similar to search engines you might find on any other website. There are a few features unique to this search tool that are covered in depth in the <a target="_blank" href='search-equip#using-find'><i>Using Find Tool</i></a> and, more specifically, the <a target="_blank" href='search-equip#wildcard-notation'><i>Wildcard Notation</i></a> sections of the tutorial. The <i>Query</i> tool will likely be a completely foreign search feature, and it is covered in the <a target="_blank" href='search-equip#using-query'><i>Using Query Tool</i></a> section of the tutorial. | p
4 | 12 | The <i>Query</i> tool and the wildcard notation used in <i>Find</i> searches are more relevant for searching for equipment records and will be covered in later sections of the tutorial. For the purpose of finding a user it is recommended to either input the user’s full ID in the ‘User ID’ field or just input their last name in the ‘Name’ field. | p
4 | 13 | manage-rights/manage-users-img2 | img
4 | 14 |  | divclose
4 | 15 | pages | divopen
4 | 16 | Note: The input is not “case-sensitive”, i.e. it doesn’t matter if the input has capitalized characters or not. | note
4 | 17 | After “clicking” the <i>Find</i> button you will be taken to the <i>Results</i> tab where you can select the correct user. | p
4 | 18 | After the appropriate user is selected, you will be taken to the <i>User</i> tab where the main portion of the window is comprised of 4 sections; a <i>User Identification</i> section, a <i>Facility Membership</i> section, a <i>Group Membership</i> section, and a <i>Effective Security Rights</i> section. | p
4 | 19 | manage-rights/manage-users-img3 | img
4 | 20 | pages | break
4 | 21 | User Identification | h1 id="user-ident"
4 | 22 | The <i>User Identification</i> form is very straight forward. It contains the individual’s personal information, i.e. user ID, name, job title, department, etc. | p
4 | 23 | manage-rights/user-ident-form | img
4 | 24 |  | divclose
4 | 25 | pages | divopen
4 | 26 | To change the user’s personal information in <i>eSOMS</i> you can simply delete the existing input, and then enter a new value in the field. As always, make sure you “click” the <i>Save</i> icon to ensure the changes are permanent. | p
4 | 27 | The only “required” fields are the ‘Login ID’, ‘Name’, and selecting a department from the ‘Department’ dropdown, but it is important to also include the user’s email address for “Change Log” information and contact purposes. The ‘Title’ field should also be filled, and the ‘User ID’ field should have an identical value as the ‘Login ID’; though it seems redundant the two separate fields are used for different database queries. | p
4 | 28 | The ‘Active’ checkbox simply means that the user still has security rights at some level in the <i>eSOMS</i> system. The ‘Expiration’ is only applicable if the last date that an employee will need security rights in <i>eSOMS</i> is known, i.e. employee is changing departments, employee is quitting on a specified date. | p
4 | 29 | pages | break
4 | 30 | Facility Membership | h1
4 | 31 | The <i>Facility Membership</i> form currently only has one option. <i>WRPS</i> is currently the only facility on site. This option could potentially be used in the future if the site ever moved to a multi-facility structure, but, for the time being, just ensure that <i>WRPS</i> is added as the facility, and that the ‘DefaultSite’ checkbox is “checked”. | p
4 | 32 | manage-rights/facility-member-form | img
4 | 33 |  | divclose
4 | 34 | pages | divopen
4 | 35 | If the <i>WRPS</i> option is not present in the <i>Facility Membership</i> form, and a message stating, “No records to display” is showing, then simply “click” the <i>Add</i> button, and then “check” the ‘DefaultSite’ checkbox. | p
4 | 36 | pages | break
4 | 37 | Group Membership | h1
4 | 38 | The <i>Group Membership</i> form can be used to select one or more of “user groups” from the list. Each “group” is associated with a specific, and unique, set of privileges, or rights. How to view the specific rights of each “group”, and how to modify the rights of an existing group will be discussed in the <a href='manage-rights#manage-groups'><i>Manage Groups</i></a> section of the tutorial. | p
4 | 39 | manage-rights/group-member-form | img
4 | 40 |  | divclose
4 | 41 | pages | divopen
4 | 42 | To grant the rights of a specific group to a user, simply “check” the box corresponding to the appropriate group. “Uncheck” a box to remove the rights associated with a specific group. | p
4 | 43 | Note: If a checkbox is gray, then it means you do not possess the appropriate privileges to grant membership to that group. | note
4 | 44 | pages | break
4 | 45 | Effective Security Rights | h1
4 | 46 | The <i>Effective Security Rights</i> form lists all of the rights associated with the selected user. The rights cannot be modified here, only viewed. Rights are modified at a “group” level and never at an individual level. How to modify the rights of an existing group will be discussed in the <a href='manage-rights#manage-groups'><i>Manage Groups</i></a> section of the tutorial. | p
4 | 47 | The <i>Module</i> column can contain “Equipment”, “Administration”, and “Operator Rounds”, which correspond to the interface’s dropdown menus. It will also contain a value for each individual tour that the user has rights pertaining to. If there is a right which governs the usage of any action associated with one of <i>eSOMS</i> primary dropdown menu items, then it would be listed as a module name matching the menu item. | p
4 | 48 | Each right associated with these “modules” is listed in the <i>Rights</i> column. The following image will show the <i>Effective Security Rights</i> form of the <i>Modify User</i> tool and its association with the <i>eSOMS</i> interface dropdown menu. | p
4 | 49 | manage-rights/effective-rights-form | img
4 | 50 |  | divclose
4 | 51 | pages | divopen
4 | 52 | Note: The search field for this form only searches the current page and is equivalent to a “Ctrl-F” search. It is more effective to just manually navigate to the desired “module” name and look for the desired right. | note
4 | 53 | pages | break
4 | 54 | Add User | h1 id="add-user"
4 | 55 | A very commonly used function of the <i>Manage Users</i> tool is to add or remove a user. Any time a new employee is hired, leaves, or moves to another department there becomes a need to add or remove a user from the system. To do this you must first be in the <i>Users</i> tab as shown in the following image. You will notice when you select the <i>Users</i> tab that several new icons appear in the toolbar. | p
4 | 56 | manage-rights/manage-users-img4 | img
4 | 57 |  | divclose
4 | 58 | pages | divopen
4 | 59 | To add a new user “click” on the <i>Add new user</i> icon from the toolbar. The fields in the <i>User Identification</i> form should be filled out appropriately. You can refer to the previous sections on this page for information regarding the different fields. The “required” fields are highlighted in yellow and must be filled out in order to store the user’s profile. The ‘User ID’ field and the ‘Login Id’ field both contain the same value. | p
4 | 60 | For a description and a list of the additional fields which are necessary to include, please refer to the <a href='manage-rights#user-ident'><i>User Identification</i></a> section of the tutorial. | p
4 | 61 | Note: The only password requirements are that there is a minimum of 6 characters, and there is at least 1 letter and 1 number included. | note
4 | 62 | Before you can make a selection from the ‘Department’ dropdown menu or select a <i>Group Membership</i> option you must first save the profile with the yellow highlighted fields filled. So when the same fields as shown in the following image are filled, “click” the <i>Save</i> icon near the top left corner of the window. | p
4 | 63 | manage-rights/manage-users-img6 | img
4 | 64 |  | divclose
4 | 65 | pages | divopen
4 | 66 | Now you can select the department from the dropdown menu, as well as, select the appropriate “group” from the <i>Group Membership</i> form. Ensure that <i>WRPS</i> is still visible in the <i>Facility Membership</i> form, and that the ‘Default’ checkbox is “checked”. | p
4 | 67 | That is it, the user’s profile has been successfully setup in <i>eSOMS</i> with their appropriate rights. | p
4 | 68 | Remove User | h1 id="remove-user"
4 | 69 | Removing a user requires using the <i>Search</i> tab to find the user, and that is explained in the <a href='manage-rights#manage-users'><i>Manage Users</i></a> section of the tutorial. Once the user has been selected the <i>Users</i> tab, including the specified user’s profile information, should automatically be loaded onto the interface. Once present, simply click the <i>Delete user</i> icon shown in the following image. | p
4 | 70 | manage-rights/manage-users-img5 | img
4 | 71 |  | divclose
4 | 72 | pages | divopen
4 | 73 | That is it, the user’s <i>eSOMS</i> profile has been removed. | p
4 | 74 | Change Passwords | h1 id="change-passwords"
4 | 75 | If a password needs to be changed, whether it is your own password or someone else’s password, the <i>Manage Users</i> interface is where this is done. | p
4 | 76 | To change your personal password you must have the <i>Users</i> tab open. For changing a personal password it doesn’t matter whose profile, if any, is present in the <i>Users</i> tab. You simply “click” on the <i>Change my password</i> icon denoted by the “single” key in the toolbar. | p
4 | 77 | manage-rights/manage-users-img7 | img
4 | 78 |  | divclose
4 | 79 | pages | divopen
4 | 80 | You will then be prompted for your current password, and the new password. Input the required fields and “click” <i>OK</i>, then your password will have changed. | p
4 | 81 | To change another user’s password you must use the <i>Search</i> tab to find the user. This was explained in the <a href='manage-rights#manage-users'><i>Manage Users</i></a> section of the tutorial. Once the user has been selected the <i>Users</i> tab, including the specified user’s profile information, should automatically be loaded onto the interface. | p
4 | 82 | Now you can simply “click” on the <i>Change selected user’s password</i> icon denoted by the “pair” of keys in the toolbar. | p
4 | 83 | manage-rights/manage-users-img8 | img
4 | 84 |  | divclose
4 | 85 | pages | divopen
4 | 86 | Again, you will then be prompted for the user’s current password, and the user’s new password. Input the required fields and “click” <i>OK</i>, then the user’s password will be changed. | p
4 | 87 | pages | break
4 | 88 | Manage Groups | h1 id="manage-groups"
4 | 89 | If a specific “group”, i.e. Group Administrator, Rounds Operator, Shift Manager, etc. needs an additional right or a specific right removed, or if a completely new “group” needs to be created, then it must be done at a “group” level from the <i>Manage Groups</i> interface. Follow the steps below to learn how to change “group” privileges and how to create an additional “group”. | p
4 | 90 | pages | break
4 | 91 | Add/Remove Rights | h1 id="add-remove-rights"
4 | 92 | To add or remove rights, to or from a group, you will need to select the <i>Manage Groups</i> option from the <i>Administration</i> dropdown menu. | p
4 | 93 | manage-rights/manage-groups-img1 | img
4 | 94 |  | divclose
4 | 95 | pages | divopen
4 | 96 | When the interface loads there should be a table present where each row represents a “user group”. From here you must select which “group” you would like to add or remove rights from. In the example, <i>Group Administrator</i> has been selected from the <i>User Group Name</i> column. | p
4 | 97 | manage-rights/manage-groups-img2 | img
4 | 98 |  | divclose
4 | 99 | pages | divopen
4 | 100 | When the user group has been selected a new form will appear in the bottom half of the screen. This form allows you to view the <i>Available Rights</i> and the <i>Assigned Rights</i> for each individual ‘Module’. You can change the ‘Module’ using the dropdown menu, and, for each module, there will be a different set of rights. | p
4 | 101 | For the example, the right of approving updates to revisions for the ‘TF-OR-MR-AN’ tour to any <i>Group Administrator</i> will be granted. First, the correct ‘Module’ must be selected; in this case it will be a tour name. Then the appropriate right from the <i>Available Rights</i> list must be highlighted, and then the “single right arrow” icon must be "clicked". When the selected right has been moved to the <i>Assigned Rights</i> list and the progress has been saved, then the corresponding “group” will have that right. | p
4 | 102 | manage-rights/manage-groups-img3 | img
4 | 103 |  | divclose
4 | 104 | pages | divopen
4 | 105 | To grant all available rights for this tour similarly select the desired tour from the ‘Module’ dropdown, but then “click” the “double right arrow” icon. This will transfer all rights from the list of <i>Available Rights</i> to the list of the <i>Assigned Rights</i> for the chosen module. | p
4 | 106 | manage-rights/manage-groups-img4 | img
4 | 107 |  | divclose
4 | 108 | pages | divopen
4 | 109 | To remove a right you would essentially just do the opposite. You would highlight one or more rights from the list of <i>Assigned Rights</i>, and then “click” the “single left arrow” icon to move them to the list of <i>Available Rights</i>. Those rights would then be removed from that particular “group”. | p
4 | 110 | pages | break
4 | 111 | Create Group | h1 id="create-group"
4 | 112 | If you ever need a unique set of rights for a group of people or even a single individual, then it may be necessary to create a new group. This is a relatively simple procedure that must be done in the <i>Manage Group</i> interface. | p
4 | 113 | The first step is to simply “click” the <i>Add new group</i> icon from the toolbar, near the top left corner of the window. | p
4 | 114 | manage-rights/manage-groups-img5 | img
4 | 115 |  | divclose
4 | 116 | pages | divopen
4 | 117 | When the page has refreshed there should be an additional row appended to the bottom of the table, and it should be highlighted and contain no input. The column titled <i>User Group ID</i> is used for organizing data in the database, thus should be capitalized and should be named so that it is obvious which “group” it corresponds to. Fill in the field for the <i>User Group Name</i> field as well, and then make sure to “click” the <i>Save</i> icon from the toolbar. | p
4 | 118 | manage-rights/manage-groups-img6 | img
4 | 119 |  | divclose
4 | 120 | pages | divopen
4 | 121 | Note: Because this action requires a database change, make sure to contact <a href="mailto:ERADM@rl.gov?subject=eSOMS system support"><i>eRounds Admin</i></a>. Attach a screenshot of this point, and explain the change. | note
4 | 122 | At this point the form containing the list of <i>Available Rights</i> and the <i>Assigned Rights</i> for each ‘Module’ should be present in the bottom half of the window. Simply add the desired rights for each module to the list of <i>Assigned Rights</i> to grant the privilege to your new group. | p
4 | 123 | If more detail is necessary for selecting the “group” privileges, please refer to the <a href='manage-rights#add-remove-rights'><i>Add/Remove Rights</i></a> section of the tutorial. After you have finished selecting the appropriate rights for each module, make sure to “click” the <i>Save</i> icon. | p
4 | 124 |  | divclose
4 | 125 |  | divclose
5 | 1 | pages | divmain
5 | 2 | View Data Trends | pagetitle
5 | 3 | pages | divopen
5 | 4 | Introduction | h1
5 | 5 | One of the features which makes <i>eSOMS</i> such a significant improvement in collecting “Procedure” data is the ability to instantaneously view historical data and trends for specific tour records. Follow the steps below to learn how to view historical data and data trends, including viewing trends via graphical data. | p
5 | 6 | pages | break
5 | 7 | Historical Data | h1 id="historical-data"
5 | 8 | The first step which is necessary to complete any of these operations will begin with finding the historical data from a desired range of dates, and from the specific record, or station, of interest. To accomplish this you must select the <i>Data</i> tool from the <i>Operator Rounds</i> dropdown menu. | p
5 | 9 | data-trends/view-data-img1 | img
5 | 10 |  | divclose
5 | 11 | pages | divopen
5 | 12 | After <i>Data</i> is selected and the page loads, you should see a navigation pane in the left-hand side of the window which contains “expandable” menus for each of the tours that you have the appropriate rights to access. You should also be able to view a “calendar” in the bottom left corner of the window. | p
5 | 13 | How to change privileges is covered in the <a href='manage-rights#add-remove-rights' target="_blank"><i>Add/Remove Rights</i></a> section of this tutorial. | p
5 | 14 | data-trends/view-data-img2 | img
5 | 15 |  | divclose
5 | 16 | pages | divopen
5 | 17 | In the navigation pane you will need to select the tour which you are interested in viewing data for. For the example I have chosen “AN” tank farm daily rounds. Next you will need to select the range of dates that are of interest to you. I have chosen the date “7/8/2016”, and I will be viewing data for the 21 previous days leading up to this date. | p
5 | 18 | data-trends/view-data-img3 | img
5 | 19 |  | divclose
5 | 20 | pages | divopen
5 | 21 | With the tank farm and the range of dates chosen your interface should resemble the window in the following image. | p
5 | 22 | data-trends/view-data-img4 | img
5 | 23 |  | divclose
5 | 24 | pages | divopen
5 | 25 | From this window you can view each record in the tour, and information such as the readings, and who recorded the readings for each corresponding date. | p
5 | 26 | Note: On your screen you should see the name of the “Operator” who recorded the reading in place of the “Pi Communication” that is visible in the example. | note
5 | 27 | This is how to view historical data from a tour. | p
5 | 28 | pages | break
5 | 29 | View Graphical Data | h1 id="graphical-data"
5 | 30 | Another way to view the same data is by “clicking” on the ‘Horizontal’ tab as shown in the next image. | p
5 | 31 | data-trends/view-data-img5 | img
5 | 32 |  | divclose
5 | 33 | pages | divopen
5 | 34 | Note: This “Horizontal” view is required in order to view graphical data. | note
5 | 35 | This view initially only shows station readings for the dates specified by each column. If you look closely at the bottom of the table you will see 3 checkboxes. | p
5 | 36 | data-trends/view-data-img6 | img
5 | 37 |  | divclose
5 | 38 | pages | divopen
5 | 39 | The <i>Notes</i> checkbox will add a row for each record that will contain historical “Note” data, if there was any notes recorded for the station from any of the dates specified. You can see in the image below that there were multiple “Notes” taken for the “AN Prim Vent A-Trn Exh MCS” station during the specified dates. | p
5 | 40 | data-trends/view-data-img7 | img
5 | 41 |  | divclose
5 | 42 | pages | divopen
5 | 43 | The highlighted row from the image displays the readings, and the row directly below the highlighted row contains any notes that were taken. In this particular case, the cause of the recorded notes in the above image can easily be determined by a brief look at the readings; the dates which contain notes all have an “Out of Service” (o/s) readings. | p
5 | 44 | The <i>Name</i> checkbox will similarly add an additional row to the table when “checked”. The row created when the <i>Name</i> checkbox is “checked” contains the name of the operator who took the reading. This can be seen in the image below. | p
5 | 45 | data-trends/view-data-img8 | img
5 | 46 |  | divclose
5 | 47 | pages | divopen
5 | 48 | You may have already guessed, but the <i>Graph</i> checkbox will create a graph of the readings from the highlighted tour station, which corresponds to the specified range of dates. The following image will show a graph for the selected dates, for the “AN-101 dP Indicator 1B HMI” tour record. This is a graphical version of the same data which is highlighted in the previous image. | p
5 | 49 | data-trends/view-data-img9 | img
5 | 50 |  | divclose
5 | 51 | pages | divopen
5 | 52 | This graph shows the data trend for the specified range of dates, as well as the “Maximum” and “Minimum” values for this reading to remain in “SPEC”. | p
5 | 53 | This is the method to view historical tour record data, both the raw data as well as a graphical representation of the data. | p
5 | 54 |  | divclose
5 | 55 |  | divclose
6 | 1 | pages | divmain
6 | 2 | Create Tour | pagetitle
6 | 3 | pages | divopen
6 | 4 | Introduction | h1
6 | 5 | Any time a new tour types, i.e. daily, monthly, quarterly, is created for a tank farm, or potentially if there is an additional shift created, then there becomes a need to create a new tour in <i>eSOMS</i>. For whatever the reason might be, it is important to fully understand how to properly create a new tour. Follow the steps below to learn how. | p
6 | 6 | To create a new tour you will need to use the <i>Maintenance</i> tool found under the <i>Operator Rounds</i> dropdown menu. | p
6 | 7 | create-tour/dropdown-maintenance | img
6 | 8 |  | divclose
6 | 9 | pages | divopen
6 | 10 | When the <i>Maintenance</i> interface has been loaded the window should resemble the screen in the following image. "Right-click" on the tank farm that you want to create a new tour in, and select the <i>Add Tour</i> option. | p
6 | 11 | create-tour/create-tour-img1 | img
6 | 12 |  | divclose
6 | 13 | pages | divopen
6 | 14 | Note: If the <b>Add Tour</b> option does not appear after "right clicking" on a tank farm, then you may not have the appropriate permissions set up. | note
6 | 15 | pages | break
6 | 16 | Tour Details | h1 id="tour-details"
6 | 17 | When the the new tour is added, by default the <i>Tour Detail</i> tab will be open. There are 4 fields in the <i>Tour Detail</i> form which are required when creating a tour: 'Tour Name', 'Tour Type', 'Revision', and a minimum of one shift must be added. For the example a "monthly" round in tank farm 'AZ' will be created. Following the naming convention I have set the value for 'Tour Name' to "TF-OR-MR-AZ", I have input a 'Revision' using the appropriate convention, and I have selected "MONTHLY" from the 'Tour Type' dropdown menu. | p
6 | 18 | create-tour/create-tour-img2 | img
6 | 19 |  | divclose
6 | 20 | pages | divopen
6 | 21 | Note: The 'Tour Name' naming scheme is constructed of 4 acronyms: 'TF' stands for tank farm, 'OR' stands for operator rounds, 'MR' stands for monthly rounds, and 'AZ' stands for the specific tank farm which the tour has been created for. | note
6 | 22 | <table><tr><td><p>TF-OR-MR-AZ</p></td></tr></table><br> | AsIs
6 | 23 | To add a shift you must "click" on the <i>Add shift</i> icon shown in the image below. | p
6 | 24 | Following convention, the tour 'Revision' begins with the procedure revision number, not to be confused with the 'Rev No.' field which is visible on the same screen as the 'Revision' field, and the 'Revision' ends with the release date. | p
6 | 25 | <table><tr><td><p>A-1 08/18/2016</p></td></tr></table><br> | AsIs
6 | 26 | The procedure revision number, known as the <i>Rev-Mod</i>, as well as the <i>Release Date</i> can be found on a <i>Redline</i> file as can be seen in the following image. | p
6 | 27 | create-tour/rev-mod-number | img
6 | 28 |  | divclose
6 | 29 | pages | divopen
6 | 30 | Note: Do <u>not</u> change the 'Frequency' value. Leave it at its default value of "None". It is an unnecessary feature and can lead to complications in specific circumstances. | note
6 | 31 | When the <i>Add shift</i> icon is "clicked" a table will appear where you can set shift attributes. If you "click" on an empty cell in the table, then a dropdown menu with relevant shift values will appear. For this example, "Day" shift has been chosen using the <i>Shift Desc.</i> dropdown menu. The time chosen from the <i>Normal Start Time</i> dropdown menu is "06:00" , and "Next Day" has been arbitrarily chosen from the <i>Normal Start Day</i> dropdown menu. The <i>Warn Text</i> field has been left with its default message. | p
6 | 32 | create-tour/create-tour-img3 | img
6 | 33 |  | divclose
6 | 34 | pages | divopen
6 | 35 | Though these are the only fields in the <i>Tour Detail</i> tab which are required to have input, there are a couple other fields which will likely need to be set as well. These additional fields include setting the text style for notes and warnings, as well as, setting the color coding scheme for the background of the text. Check the corresponding box to add a font style, or "click" the box next to the color field to open a color palette. | p
6 | 36 | create-tour/create-tour-img4 | img
6 | 37 |  | divclose
6 | 38 | pages | divopen
6 | 39 | The 'History to Download' field is based on the tour type, and the value can be determined using the table below. | p
6 | 40 | <table cellspacing="0" cellpadding="0"><tr><th><h2>Tour Type</h2></th><th><h2>History to Download</h2></th></tr><tr><td><p>DAILY</p></td><td><p>7 days</p></td></tr><tr><td><p>WEEKLY</p></td><td><p>21 days</p></td></tr><tr><td><p>MONTHLY</p></td><td><p>180 days</p></td></tr><tr><td><p>QUARTERLY</p></td><td><p>365 days</p></td></tr></table> | AsIs
6 | 41 | pages | break
6 | 42 | Data Approval Setup | h1 id="data-approval"
6 | 43 | After the <i>Tour Detail</i> form is completed for the new tour you then can "click" on the <i>Data Approval Setup</i> tab to set the appropriate data verifications for the tour. | p
6 | 44 | Note: The <i>Attribute Setup</i> has been deliberately skipped. The attributes created in the <i>Attribute Setup</i> must be regenerated for each individual round completed by an operator, and thus have proven to be ineffective and an unnecessary feature in <i>eSOMS</i>. It is recommended to not use <i>Attribute Setup</i>. | note
6 | 45 | When the <i>Data Approval</i> Setup window is initially opened there will be two default verifications already present, one with "Uploaded" as its 'Approval Description' and another with "Approved" as its 'Approval Description'. The default screen will resemble the one in the second image down. | p
6 | 46 | In addition to these default entries, you will need to create a new entry with "Reviewed" for its 'Approval Description'. This would seem easy enough, but there is a trick to inserting this additional entry. If you simply "click" the <i>Add verification</i> icon, then you will receive the error which is shown in the image below. | p
6 | 47 | create-tour/error-data-approval | img
6 | 48 |  | divclose
6 | 49 | pages | divopen
6 | 50 | This is a peculiar error for which I cannot fully comprehend, but there is a "work-around". What you must do is change the 'Internal Level' value of the lower-most entry from its current value of "Approved" to any other value. For this particular example I will be changing the value this "Preclude Edit" which is normally used for a “Reviewed” type of verification. | p
6 | 51 | create-tour/create-tour-img5 | img
6 | 52 |  | divclose
6 | 53 | pages | divopen
6 | 54 | Now you can successfully append a new verification entry by "clicking" the <i>Add verification</i> icon near the top-left corner of the window. Because this "new" entry is appended to the bottom of the verifications, and, since the "Approved" must be the last entry, go ahead and manually copy the information from the original "Approved" verification. | p
6 | 55 | By the current convention, the 'Approval Description' for the "Approved" entry should be changed to "SM Approval", and that is changed by simply selecting the current entry in the field, deleting it, and typing a new value. These verifications should all have the 'Verification Required' field "checked", and the 'Relogin Required' field "checked". Also, make sure that the "Reviewed" entry always has the field 'Reversible To Level' set to 1; this way if there is an operator error, then someone can go back and modify the information. When done, the fields for these three required verifications should resemble those in the following image. | p
6 | 56 | create-tour/create-tour-img6 | img
6 | 57 | pages | break
6 | 58 | Revision Approval | h1 id="revision-approvals"
6 | 59 | There are a few more tabs left which allow the user to view revision approval details. There is a <i>Rev Info</i> tab which contains a log of previous revisions that have been made to this specific tour, and there is a <i>Ref Attachments</i> tab which shows attachments for the tour. | p
6 | 60 | At this point, the new tour is ready for revision approvals which can be found under the <i>Rev Approval</i> tab. A different set of "Approvals" are required for each 'Tour Type', i.e. daily, weekly, monthly, etc. Some sets will require the same approvals, but the sets of approvals are not uniform. Using our example which has a 'Tour Type' set to monthly, we are given a set of approvals similar to the set shown in the image below. | p
6 | 61 | create-tour/create-tour-approvals | img
6 | 62 |  | divclose
6 | 63 | pages | divopen
6 | 64 | The first approval required is an 'Update' approval. To commit this approval you must first click on the row corresponding to the update approval, so that it is highlighted 'yellow', and then "click" on the <i>Verify</i> stamp as shown in the following image. At every approval there should be a re-login is required, the user will be prompted for their credentials to submit the verification. | p
6 | 65 | create-tour/update-approval | img
6 | 66 |  | divclose
6 | 67 | pages | divopen
6 | 68 | If you do not see a stamp icon on your screen, then you do not have adequate rights for this action. You may need to find an administrator who has the rights to approve the changes. To learn how to change user or group privileges you can refer to the <a href='manage-rights' target="_blank"><i>Manage Users/Groups</i></a> section of the tutorial. | p
6 | 69 | Note: At any stage in the verification process, an approval may be "unverified" by "clicking" the <i>Un-Verify</i> icon which would then require an additional review and a re-verification from the appropriate individual. If a tour edit is necessary, then all approvals must be "unverified". | note
6 | 70 | After the 'Update' approval is verified, it is time for the 'Equation Review' approval. An 'Equation Review' <u>must</u> be completed by <i>eRounds Admin</i>, so you will need to send an email to <a href="mailto:ERADM@rl.gov?subject=eSOMS system support"><i>ERADM@rl.gov</i></a> which should include the tour name, revision number, and a brief description of what is needed. | p
6 | 71 | If the equations in the tour records are determined to be correct, then <i>Process Software Engineering</i> will verify the approval, otherwise an email will be sent detailing the necessary corrections. | p
6 | 72 | The 'Manager Review' approval must be verified by either the "Shift Manager" or the "System Administrator", and the 'Release' approval must be verified by either a "Group Administrator" or a "System Administrator". By requiring different people to verify each of the approvals it will ultimately improve the review process by decreasing the probability of errors in the "released" version of the tour. | p
6 | 73 | At the 'Release' approval, the final verification, the user will be prompted with a pop-up message asking whether the revision should be activated. | p
6 | 74 | create-tour/activate-tour | img
6 | 75 |  | divclose
6 | 76 | pages | divopen
6 | 77 | By "clicking" <i>Yes</i>, the tour will be automatically taken from the 'Revised' section of the navigation pane, and moved to the 'Active' section of the pane. You will notice in the following image that the revision "A-0-08/18/2016" from tour "TF-OR-MR-AN" is no longer in the 'Revised' section, but is now in the 'Active' section. | p
6 | 78 | create-tour/create-tour-active | img
6 | 79 |  | divclose
6 | 80 | pages | divopen
6 | 81 | Note: You will also notice that there is a copy of the previous revision of the tour being stored in 'Archived'. A record of previous revisions of each tour are automatically saved so that, if there is an error found in the "now-active" version, it is possible to go back to a prior version. | note
6 | 82 | At this point our tour has been created and is "active". Obviously the tour in the example doesn't have any records, or stations, created for it so the tour would not be very effective, but, aside from that, this tour is created and can be uploaded to the <i>Mesa</i> device. How to properly create tour records will be covered in the <a href='create-tour-record'><i>Create Tour Record</i></a> section of the tutorial. | p
6 | 83 |  | divclose
6 | 84 |  | divclose
7 | 1 | pages | divmain
7 | 2 | Create Tour Record | pagetitle
7 | 3 | pages | divopen
7 | 4 | Introduction | h1
7 | 5 | As new equipment is introduced to a tank farm, or potentially when preexisting equipment is replaced, there may become a need to create a new tour record in <i>eSOMS</i>. These new records come in the form of a <i>Procedure Change Authorization</i> or a <i>Full Revision</i>. Follow the steps below to learn how to create a new tour record. | p
7 | 6 | pages | break
7 | 7 | Finding a Record | h1
7 | 8 | The document in the following image is a <i>Redline</i> file which contains any required tour changes for the corresponding tank farm. | p
7 | 9 | create-tour-record/create-record-report1 | img
7 | 10 |  | divclose
7 | 11 | pages | divopen
7 | 12 | The first step is finding the new record in the <i>Redline</i> file. How to search the file for “redline” changes is discussed in the <a href='modify-tour-record#nav-redline-file' target="_blank"><i>Navigating Redline File</i></a> section of this tutorial. Please refer to this section if you have any trouble finding the “redline” changes in the document or for search tips. | p
7 | 13 | For the example we find an entry in <i>B Farm</i> for the “AN Quarterly Rounds” where the entire record is a new “redline” in the report. | p
7 | 14 | create-tour-record/create-record-report2 | img
7 | 15 |  | divclose
7 | 16 | pages | divopen
7 | 17 | Once you determine that a new record must be made you need to open <i>eSOMS</i>. | p
7 | 18 | pages | break
7 | 19 | eSOMS Interface | h1
7 | 20 | To create this tour record in <i>eSOMS</i> you will need to select the <i>Maintenance</i> tool found under the <i>dropdown</i> menu. | p
7 | 21 | create-tour-record/create-record-img1 | img
7 | 22 |  | divclose
7 | 23 | pages | divopen
7 | 24 | When the <i>Maintenance</i> tool has been loaded the window should resemble the screen in the following image. For our example, remember that you are using the “AN Quarterly Rounds” tour for the necessary changes. | p
7 | 25 | create-tour-record/create-record-img2 | img
7 | 26 |  | divclose
7 | 27 | pages | divopen
7 | 28 | In order to create a new tour record in the “AN Quarterly Rounds”, also referred to by “TF-OR-QR-AN”, there needs to be a copy of the current revision to that tour in the <i>Revised</i> “collapsible” menu which can be found in the navigation pane on the left-hand side of the window. If you find that there is a copy of the revision in the <i>Active</i> “collapsible” menu but not in the <i>Revised</i> “collapsible” menu, then you will need to expand the tour so that the last revision is visible, then “right-click” on that revision and select the <i>Revise Tour</i> option. | p
7 | 29 | Note: If the <b>Revise Tour</b> option is not available, then you may not have the appropriate rights to complete this action. How to modify rights is covered in the <a href='manage-rights#add-remove-rights' target="_blank"><i>Add/Remove Rights</i></a> section of this tutorial. | note
7 | 30 | create-tour-record/create-record-img3 | img
7 | 31 | pages | break
7 | 32 | Insert Record | h1 id="insert-record"
7 | 33 | With “TF-OR-QR-AN” now in the <i>Revised</i> menu you can expand the current revision to view the tour’s list of station records as shown in the following image. With the list of records present you can choose where to insert the new record by “right clicking” in the appropriate location and selecting <i>Insert Record</i> from the dropdown menu. | p
7 | 34 | create-tour-record/create-record-img4 | img
7 | 35 |  | divclose
7 | 36 | pages | divopen
7 | 37 | Because the tour record being created involves a “Level Indicator” sensor and is located in the <i>B Farm</i>, I have chosen to create the record next to similar <i>SACS</i> records. This way the record’s sequence number will be close, if not in, the correct location. A <i>Field Reading</i> station would also need to made for this particular piece of equipment, but for the example, only the <i>SACS</i> record entry will be shown. | p
7 | 38 | Note: The order that a station shows up on the handheld <i>Mesa</i> device directly correlates to its sequence number, and the sequence number is automatically determined based on a record's order in this list. | note
7 | 39 | create-tour-record/create-record-img5 | img
7 | 40 |  | divclose
7 | 41 | pages | divopen
7 | 42 | Note: If it is later determined that the record’s sequence number needs to be changed, then it is as simple as “dragging & dropping” the record to the desired location, and the sequence number will automatically update to reflect its new location. | note
7 | 43 | After a new tour record has been inserted and is in the correct location, the details for the record, including the applicability, expressions, alerts, notes, etc. will still need to be set up. | p
7 | 44 | pages | break
7 | 45 | Record Detail | h1 id="record-detail"
7 | 46 | With the new record inserted and selected, the default form located in the <i>Rec. Detail</i> tab should be visible. Most of this form can be filled directly from the information from the <i>Redline</i> file. | p
7 | 47 | create-tour-record/create-record-img6 | img
7 | 48 |  | divclose
7 | 49 | pages | divopen
7 | 50 | The ‘Equipment ID’, ‘Min’, ‘Max’, ‘Short Instr.’, and ‘Long Instruction’ fields can each be filled via the <i>Redline</i> file. The ‘Long Instruction’ contains the “Preventative Maintenance” number, as well as, the “BASIS”, “SEC” and “OSD” numbers as applicable. The “Special Instructions” from the <i>Redline</i> file go into the ‘Short Instr.’ field in <i>eSOMS</i>. | p
7 | 51 | If, after entering the equipment ID, you receive an error resembling the error in the following image then there is currently not an equipment record that matches the equipment ID entered. | p
7 | 52 | create-tour-record/create-record-error | img
7 | 53 |  | divclose
7 | 54 | pages | divopen
7 | 55 | If you are not certain of the equipment ID, and what you had entered was just a guess, then “click” <i>OK</i> to search for the correct equipment ID. Otherwise this error likely means that there is no equipment record associated with the equipment ID, and that a new equipment record needs to be made in addition. In this case, create the new equipment record prior to entering the equipment ID in the <i>Rec. Detail</i> form to prevent this error. How to create a new equipment record is covered in the <a href='manage-equip#add-equip' target="_blank"><i>Add Equipment</i></a> section of this tutorial. | p
7 | 56 | The ‘Description’ field can be filled using the equipment ID and by following the standard convention. So, where… | p
7 | 57 | <table><tr><td><p>B109-WST-LIT-101</p></td></tr></table><br> | AsIs
7 | 58 | becomes… | p
7 | 59 | <table><tr><td><p>B-109 Level Indicator SACS</p></td></tr></table><br> | AsIs
7 | 60 | Note: A new tour record for the <i>Field Reading</i> would end with “FR” opposed to “SACS”. | note
7 | 61 | The ‘Units’ field must also be filled. The units will be indicated on the <i>Redline</i> file. The following table displays a list of the common units used by <i>eSOMS</i>, and it shows how each unit needs to be represented in the field. | p
7 | 62 | <table cellspacing="0" cellpadding="0"><tr><th><h2>Unit</h2></th><th><h2>Quantity</h2></th></tr><tr><td><p>%</p></td><td><p>Percent</p></td></tr><tr><td><p>CFM or ft3/min</p></td><td><p>Cubic Feet per Minute</p></td></tr><tr><td><p>CLD/NOT</p></td><td><p>Closed/Not Closed</p></td></tr><tr><td><p>DPM/FT3</p></td><td><p>Disintegrations per Minute by Volume</p></td></tr><tr><td><p>F</p></td><td><p>Temperature in Fahrenheit</p></td></tr><tr><td><p>FPM</p></td><td><p>Feet per Minute</p></td></tr><tr><td><p>g</p></td><td><p>Gallons</p></td></tr><tr><td><p>in</p></td><td><p>Inches</p></td></tr><tr><td><p>in WG</p></td><td><p>Inches in Water Gauge (Unit of Pressure)</p></td></tr><tr><td><p>in WG VAC</p></td><td><p>Inches in Water Gauge Vacuum (Unit of Pressure)</p></td></tr><tr><td><p>psi</p></td><td><p>Pounds per Square Inch</p></td></tr><tr><td><p>SAT/OFF</p></td><td><p>Satisfactory/Off</p></td></tr><tr><td><p>SAT/UN</p></td><td><p>Satisfactory/Unsatisfactory</p></td></tr><tr><td><p>SCFM</p></td><td><p>Standard Cubic Feet per Minute</p></td></tr></table><br> | AsIs
7 | 63 | Note: It is important to match these acronyms exactly, in case and without using any glyphs (periods) at the end of the acronym. This is necessary because “units” are utilized in searches via the database and thus must have a uniform format. | note
7 | 64 | pages | break
7 | 65 | Applicability | h1 id="applicability"
7 | 66 | After the record details have been set “click” on the <i>Applicability</i> tab. The applicability settings are fairly straight-forward. Leave the ‘Day of the Week’ field as the default with every day highlighted. <u>Always</u> uncheck the <i>Applicable</i> checkbox for the “Temp” shift. When completed, <i>Applicability</i> tab should resemble the window in the following image. | p
7 | 67 | create-tour-record/create-record-img7 | img
7 | 68 |  | divclose
7 | 69 | pages | divopen
7 | 70 | Expressions | h1 id="expressions"
7 | 71 | After you have finished setting the “Applicability” for a tour record you can “click” on the <i>Expressions</i> tab. The equations which go into an “Expression” are not very intuitive so you may find setting up the equations to be difficult. | p
7 | 72 | If you are having difficulty setting up the equations you can refer to the <i>Create Record Expressions</i> documentation in the <i>eSOMS Page Help Menu</i> or you can always contact <a href="mailto:ERADM@rl.gov?subject=eSOMS system support"><i><strong>eRounds Admin</strong></i></a>. You access the <i>eSOMS Page Help Menu</i> by “clicking” the <i>Help</i> button from the <i>eSOMS</i> dropdown menu-bar. | p
7 | 73 | Note: Make sure you “click” on the actual <i>Help</i> button and not the <i>About</i> item from the dropdown menu. | note
7 | 74 | create-tour-record/create-record-img8 | img
7 | 75 |  | divclose
7 | 76 | pages | divopen
7 | 77 | Then “click” on the <i>Create Record Expressions</i> hyperlink to view the vendor documentation. | p
7 | 78 | create-tour-record/create-record-img9 | img
7 | 79 |  | divclose
7 | 80 | pages | divopen
7 | 81 | These “Expressions” must also be approved by <i>eRounds Admin</i> before any updates to a tour can take effect so, even if the equations are incorrect, the mistake will be caught during the “approval” process. | p
7 | 82 | Only the <i>Reading Expression</i> and the <i>Applicability Expression</i> fields are relevant for your purposes, so simply ignore the remaining expression fields. | p
7 | 83 | The <i>Applicability Expression</i> determines whether or not a station is necessary to take a reading from, whether or not it even shows up on the handheld device. If input from a station is only required depending on the result of the <i>Reading Expression</i> from another station, then the first station would need an <i>Applicability Expression</i>. | p
7 | 84 | An example of this might be that a reading from “Station A” is necessary if the <i>Reading Expression</i> from “Station B” results in a “True” statement. This is a very common use of the <i>Applicability Expression</i>. Let’s say that STA(277) has the following <i>Applicability Expression</i>. | p
7 | 85 | create-tour-record/create-record-img17 | img
7 | 86 |  | divclose
7 | 87 | pages | divopen
7 | 88 | This equation means that the station is only applicable when the <i>Reading Expression</i> from STA(512) results in a “True”; a value of "YES" is equivalent to a result being "True". Let’s take a look at the <i>Reading Expression</i> from STA(512). | p
7 | 89 | create-tour-record/create-record-img18 | img
7 | 90 |  | divclose
7 | 91 | pages | divopen
7 | 92 | A <i>Reading Expression</i> differs from an <i>Applicability Expression</i> because it looks directly at the tour readings taken by the operator opposed to the result of another station’s <i>Reading Expression</i>. | p
7 | 93 | The <i>Reading Expression</i> from STA(512) literally translates to: | p
7 | 94 | <table><tr><td><p><b>If</b> the reading from <b>STA(263)</b> is <b>“ON”</b><br>and the reading from <b>STA(275)</b> is not <b> “O/S”</b><br>and the reading from <b>STA(276)</b> is not <b> “O/S”</b><br>and the reading from <b>STA(122)</b> is <b>“ON”</b><br>then the result is <b>”YES”</b><br>otherwise the result is <b>”NO”</b></p></td></tr></table><br> | AsIs
7 | 95 | If whether or not a station is required depends on another station’s <i>Reading Expression</i>, then an equation needs to be created for the <i>Applicability Expression</i>. If whether or not a station is required depends on another stations’ readings, then an equation needs to be created for the <i>Reading Expression</i>. | p
7 | 96 | Another equation which is common in a <i>Reading Expression</i> is the following... | p
7 | 97 | <table><tr><td><p>N(STA(268)) + N(STA(269))</p></td></tr></table><br> | AsIs
7 | 98 | For this equation it is important to understand that, in a conditional statement, a result which is greater than “0” is equivalent to “True”. It is also important to know that the “N” with parenthesis surrounding the station returns a numerical value for the reading taken at the specified station. | p
7 | 99 | With that in mind, the statement literally translates to: | p
7 | 100 | <table><tr><td><p>the numerical reading from <b>STA(268) + </b><br>the numerical reading from <b>STA(269)</b></p></td></tr></table><br> | AsIs
7 | 101 | If this value results in a positive value, i.e. the value at STA(268) is greater than the value at STA(269), then the equation results in a “True”. | p
7 | 102 | Note: Make sure to “click” the <i>Save</i> icon when finished to ensure your progress is saved. | note
7 | 103 | pages | break
7 | 104 | Alerts | h1 id="alerts"
7 | 105 | After you have finished setting the “Expressions” for a tour record you can “click” on the <i>Alerts</i> tab. “Alerts” are messages received by the operator that are based on a particular value, i.e. UNSAT, ON, OFF, or can be based on a reading being “Out of Spec”. | p
7 | 106 | To create a new “Alert” you must “click” on the <i>New record</i> icon near the top left corner of the window. | p
7 | 107 | create-tour-record/create-record-img10 | img
7 | 108 |  | divclose
7 | 109 | pages | divopen
7 | 110 | When the <i>New record</i> icon is “clicked” then a new row will be created in the table with three blank fields. | p
7 | 111 | create-tour-record/create-record-img11 | img
7 | 112 |  | divclose
7 | 113 | pages | divopen
7 | 114 | Both the <i>Description</i> column and the <i>Alert Text</i> column will appear on the <i>Mesa</i> handheld device. This should be taken into consideration when entering data into the fields. If the text from the field fits onto the screen of the device without the user needing to “scroll” down, then it is much more convenient for the user to read the entire message. The image below shows an alert on the <i>Mesa</i> and should give you an idea of how much space is allotted for the text to be visible without scrolling. | p
7 | 115 | create-tour-record/create-record-mesa1 | img
7 | 116 |  | divclose
7 | 117 | pages | divopen
7 | 118 | Similar to the “Alert” in the above image, the “Description” should be a simple and short phrase describing the nature of the “Alert”, while the “Alert Text” is intended to give more specific details pertaining to the “Description”. | p
7 | 119 | The <i>Expression</i> column is intended for the equation which triggers the “Alert”. The “Expression” in the image above literally translates as: | p
7 | 120 | <table><tr><td><p>Rdinfo(1, 0,”SPEC”)=”YES”</p></td></tr><tr><td><p>if the reading from <b>STA(1)</b> is <b>Out of SPEC</b><br>then the equation results in <b>”YES”</b></p></td></tr></table><br> | AsIs
7 | 121 | Note: I would recommend to find an “Expression” that already exists in another tour record that is triggered for the same reason, and use its “Alert” table values to help write your own. | note
7 | 122 | A second example is shown in the image below. | p
7 | 123 | create-tour-record/create-record-img12 | img
7 | 124 |  | divclose
7 | 125 | pages | divopen
7 | 126 | The “Expression” used in this example is much more straight forward, and the logic is coherent. | p
7 | 127 | This “Expression” literally translates as: | p
7 | 128 | <table><tr><td><p>STA(263)="OFF" AND STA(262)="OFF"</p></td></tr><tr><td><p>if the reading from <b>STA(263)</b> is <b>"OFF"</b><br>and the reading from <b>STA(262)</b> is <b>"OFF"</b><br>then the equation results in “True”</p></td></tr></table><br> | AsIs
7 | 129 | Note: Make sure to “click” the <i>Save</i> icon when finished to ensure your progress is saved. | note
7 | 130 | pages | break
7 | 131 | Standard Reading/Note | h1 id="std-reading-note"
7 | 132 | After you have finished setting the “Alerts” for a tour record you can “click” on the <i>Std Reading/Note</i> tab. This section is used to create a list of commonly entered readings and notes for the operator to use. This helps to create uniform responses to “Alerts”, and it should make it much easier to interpret the readings that were taken during a tour. | p
7 | 133 | To add one of these common readings to the table you need to “click” on the <i>New record</i> icon in the top left corner of the ‘Standard Reading’ field. | p
7 | 134 | create-tour-record/create-record-img13 | img
7 | 135 |  | divclose
7 | 136 | pages | divopen
7 | 137 | Every tour should have one or more “common” readings created. The choice of common readings should depend on the nature of the record. For example, the only options for an exhauster reading are “ON”, “OFF”, or “O/S” (out of service). Not only are these same options the same for all exhausters, but some of the individual options are utilized for many other tour records so why not store these answers so that the operators can save time recording their readings. The readings for many records require a numeric value, but, if the sensor for the record is inoperable or temporarily decommissioned, then there needs to be a common reading for those cases. | p
7 | 138 | The table below shows some of the commonly used readings. | p
7 | 139 | <table><tr><td><p>ON</p></td><td><p>Equipment is "ON"</p></td></tr><tr><td><p>OFF</p></td><td><p>Equipment is "OFF"</p></td></tr><tr><td><p>SAT</p></td><td><p>Reading is "Satisfactory"</p></td></tr><tr><td><p>UNSAT</p></td><td><p>Reading is "Unsatisfactory"</p></td></tr><tr><td><p>O/S</p></td><td><p>Equipment is "Out of Service"</p></td></tr><tr><td><p>N/A</p></td><td><p>Reading is "Not Applicable"</p></td></tr></table><br> | AsIs
7 | 140 | The column in the “Standard Reading” table titled <i>OOS Setting</i>, “OOS” meaning “Out of SPEC”, determines if the operator will be required to attach a note to the reading. If the <i>OOS Setting</i> is set to “Always OOS”, then the operator will be directed to the <i>Note</i> tab on their <i>Mesa</i> and will be required to select a note before moving to the next station. If the <i>OOS Setting</i> is set to “Never OOS”, then the operator will not be taken to the <i>Note</i> tab on their <i>Mesa</i>, and they will not be required to submit a note. | p
7 | 141 | create-tour-record/create-record-img14 | img
7 | 142 |  | divclose
7 | 143 | pages | divopen
7 | 144 | Note: The “Check for OOS” option should not be used. It provides the same functionality as the “Never OOS” option where the operator has an option to enter a note, but taking a note is not required. | note
7 | 145 | The <i>Validated</i> checkbox is important to “check” for stations where a reading must be chosen from one of the “common” readings. An exhauster is an excellent example of this. | p
7 | 146 | create-tour-record/create-record-img15 | img
7 | 147 |  | divclose
7 | 148 | pages | divopen
7 | 149 | An exhauster will never have a numeric value recorded; the reading must be either “ON”, “OFF” or “Out of Service”. | p
7 | 150 | Similar to the standard readings’ table, there should generally be one or more notes included for a station. The notes are used to standardize operator responses for “Out of SPEC” readings. Some ranges of numeric values for a reading, as well as, some of the stored common readings require a note. To add a note “click” on the <i>New record</i> icon in the top left corner of the ‘Note’ field. | p
7 | 151 | create-tour-record/create-record-img16 | img
7 | 152 |  | divclose
7 | 153 | pages | divopen
7 | 154 | The table below shows the common notes used on site. | p
7 | 155 | <table cellspacing="0" cellpadding="0"><tr><th><h2>Note Description</h2></th><th><h2>Note Text</h2></th></tr><tr><td><p>Equipment RATL</p></td><td><p>E-RATL: #</p></td></tr><tr><td><p>Facility RATL</p></td><td><p>F-RATL: *</p></td></tr><tr><td><p>Caustic Add in Progress</p></td><td><p>Caustic Add in Progress.</p></td></tr><tr><td><p>PCM O/S, HVAC SAT</p></td><td><p>PCM O/S, HVAC SAT.</p></td></tr><tr><td><p>PCM SAT, HVAC O/S</p></td><td><p>PCM SAT, HVAC O/S.</p></td></tr><tr><td><p>Transfer in Progress</p></td><td><p>Transfer in Progress.</p></td></tr><tr><td><p>No Entry</p></td><td><p>Farm Access Waived Per SOM</p></td></tr></table><br> | AsIs
7 | 156 | Both the “E-RATL: #” and the “F-RATL: *” have a space in the ‘Note Text’ where the operator is required to enter their corresponding equipment ID or location. | p
7 | 157 | Note: It is important to note the difference between the “E-RATL: #” and “F-RATL: *”. The ‘Note Text’ for the “E-RATL: #” requires the equipment ID to follow the “#” symbol, while the “F-RATL: *” requires the location to follow the “*” symbol. This is necessary for the database to function properly. | note
7 | 158 | As always, make sure to “click” the <i>Save</i> icon when finished to ensure your progress is saved. | p
7 | 159 |  | divclose
7 | 160 |  | divclose
8 | 1 | pages | divmain
8 | 2 | Modify Tour Record | pagetitle
8 | 3 | pages | divopen
8 | 4 | Introduction | h1
8 | 5 | A very common and fundamental application of <i>eSOMS</i> is making changes to a tour (procedure) record, also referred to as a station. These changes come in the form of either a <i>Procedure Change Authorization</i> or a <i>Full Revision</i>. Follow the steps below to learn how to make changes to a tour record. | p
8 | 6 | Note: If there are more than 20 changes to equipment records that need to be made, then you can notify eRounds Admin at <a href="mailto:ERADM@rl.gov?subject=eSOMS system support">ERADM@rl.gov</a>, and they can handle it. | note
8 | 7 | pages | break
8 | 8 | Navigating Redline File | h1 id="nav-redline-file"
8 | 9 | The document in the following image is a <i>Redline</i> file which contains any required tour changes for the corresponding tank farm. | p
8 | 10 | modify-tour-record/manage-tour-report1 | img
8 | 11 |  | divclose
8 | 12 | pages | divopen
8 | 13 | There is a trick to quickly navigate to each change in a <i>Redline</i> file. The obvious way to locate these records would be to simply scroll down the entire document until each change was found, but there is a much easier way to accomplish this. While the document is open in <i>Microsoft Word</i>, select the <i>REVIEW</i> tab near the top of the window, then “click” on the <i>Next Change</i> icon, and you should be instantly taken to the location of the next “redline” in the document. | p
8 | 14 | modify-tour-record/manage-tour-report2 | img
8 | 15 |  | divclose
8 | 16 | pages | divopen
8 | 17 | If you arrive at a location in the document and there are no visible “redlines”, but instead you find a vertical red line present in the left-hand margin of the document, then you simply need to “click” on the red vertical line to make the “redlines” visible. You will notice in the next image that there are <u>no</u> “redlines” visible, but there is a vertical red line in the margin. | p
8 | 18 | modify-tour-record/manage-tour-report3 | img
8 | 19 |  | divclose
8 | 20 | pages | divopen
8 | 21 | In the next image, after the red vertical line in the margin has been “clicked”, you will notice that 2 “redline” changes are now visible, and the vertical line has changed to a gray color. | p
8 | 22 | modify-tour-record/manage-tour-report4 | img
8 | 23 |  | divclose
8 | 24 | pages | divopen
8 | 25 | Note: To see what type of tour is being changed, look at the top of the page in the "gray" box. | note
8 | 26 | Now that these first set of changes in the <i>Redline</i> file are present you will need to determine the station, or stations, where these changes must be made. | p
8 | 27 | Find Station Number | h1 id="find-station-num"
8 | 28 | Before making changes in <i>eSOMS</i> it is necessary to find the station number for the record, or records, that are being updated. This can be easily done using the tour “map” file. The tour map is simply a <i>Redline</i> file that contains station numbers in the appropriate columns for each equipment record on the tour. This allows you to easily search for the corresponding station numbers using the equipment ID number from the <i>Redline</i> file. Using our example “redline” from the image above, you can “copy” the equipment ID. | p
8 | 29 | <table><tr><td><p>B111-WST-LIT-101</p></td></tr></table><br> | AsIs
8 | 30 | When the equipment ID has been copied, open the corresponding “AN Quarterly Rounds Map” file. While viewing the map, you can hold the “Ctrl” key and press the “F” key to prompt the built-in <i>Navigation</i> tool for <i>Microsoft Word</i>. | p
8 | 31 | modify-tour-record/controlF | img
8 | 32 |  | divclose
8 | 33 | pages | divopen
8 | 34 | This <i>Navigation</i> tool will allow you to quickly locate the stations associated with the equipment record. With the <i>Navigation</i> tool present you can “paste” the ‘Equipment ID’ from the <i>Redline</i> file into the search field, and “click” on the submit icon. | p
8 | 35 | modify-tour-record/manage-tour-report5 | img
8 | 36 |  | divclose
8 | 37 | pages | divopen
8 | 38 | The window should now move to the location of the desired equipment ID. The equipment ID matching your search parameter should be highlighted. In our example there are two station numbers associated with the equipment ID; a station for the “SACS” reading as well as a station for the “Field Reading”. | p
8 | 39 | modify-tour-record/manage-tour-report6 | img
8 | 40 |  | divclose
8 | 41 | pages | divopen
8 | 42 | Note: Whenever there are multiple stations associated with a single equipment ID, a change must be made to each of the records. | note
8 | 43 | At this point you have the station numbers necessary to make the appropriate changes in <i>eSOMS</i>, but there is still an important step to take before you go any further. In order to keep the “map” file up-to date, the changes from the <i>Redline</i> file need to be incorporated into the map as well. So make the appropriate changes to the "map" file as well, and then save the changes | p
8 | 44 | modify-tour-record/manage-tour-report7 | img
8 | 45 | pages | break
8 | 46 | eSOMS Interface | h1 id="eSOMS-interface"
8 | 47 | To update <i>eSOMS</i> with these changes you must select the <i>Maintenance</i> tool found under the <i>dropdown</i> menu. | p
8 | 48 | modify-tour-record/manage-tour-img1 | img
8 | 49 |  | divclose
8 | 50 | pages | divopen
8 | 51 | When the <i>Maintenance</i> tool has been loaded the window should resemble the screen in the following image. For the example, remember that the “AN Quarterly Rounds” tour is being used to make the necessary changes. | p
8 | 52 | modify-tour-record/manage-tour-img2 | img
8 | 53 | pages | break
8 | 54 | Active to Revised | h1 id="active-revised"
8 | 55 | You may notice that the particular tour “TF-OR-QR-AN”, also known as “AN Quarterly Rounds”, can be seen in the <i>Active</i> “collapsible” menu, but not in the <i>Revised</i> “collapsible” menu. To make any change to a tour and/or any of the records in the tour then it must be in the <i>Revised</i> menu. To do this you first must expand the appropriate tour so that the last revision is visible, then “right-click” on that revision and select the ‘Revise Tour’ option. | p
8 | 56 | Note: If the ‘Revise Tour’ option is not available, then you may not have the appropriate permissions to do so. How to change privileges is covered in the <a href='manage-rights#add-remove-rights' target="_blank"><i>Add/Remove Rights</i></a> section of this tutorial. | note
8 | 57 | modify-tour-record/manage-tour-img3 | img
8 | 58 | pages | break
8 | 59 | Update Record | h1 id="update-record"
8 | 60 | With the current revision for “TF-OR-QR-AN” now in the <i>Revised</i> menu you can expand the current revision to view the tour’s current list of records as can be seen in the following image. | p
8 | 61 | modify-tour-record/manage-tour-img4 | img
8 | 62 |  | divclose
8 | 63 | pages | divopen
8 | 64 | From previous steps you know that the 2 stations which need to be updated are: | p
8 | 65 | <table><tr><td><p>STA(38)</p></td></tr><tr><td><p>STA(51)</p></td></tr></table><br> | AsIs
8 | 66 | At this point you could just simply scroll down the list until you find the appropriate station number, which could be timely due to the fact that the stations are not numerically ordered by station number, and there might be hundreds of station records to scroll through. Here you can utilize the method previously used for this example as well. While viewing the <i>eSOMS</i> interface, you can hold the “Ctrl” key and press the “F” key to prompt the built-in <i>Navigation</i> tool for the particular browser. | p
8 | 67 | modify-tour-record/controlF | img
8 | 68 |  | divclose
8 | 69 | pages | divopen
8 | 70 | This <i>Navigation</i> tool will allow you to quickly locate the records associated with the station numbers. With the <i>Navigation</i> tool present you can type the station number into the search field, and “click” on the <i>Next</i> button. | p
8 | 71 | modify-tour-record/manage-tour-img5 | img
8 | 72 |  | divclose
8 | 73 | pages | divopen
8 | 74 | Note: For this search you will notice that the station numbers do not include the “STA” acronym, and the numbers are surrounded by “square” brackets opposed to “curved” brackets. For additional precision you may include the “square” brackets in your search. | note
8 | 75 | Now that you have found the correct station record you can "click" on it which will open the correct interface to make these changes. The initial window presented shows the form for the <i>Rec. Detail</i> tab with the fields populated with the station's current values. | p
8 | 76 | modify-tour-record/manage-tour-img6 | img
8 | 77 |  | divclose
8 | 78 | pages | divopen
8 | 79 | Note: All changes found in a <i>Redline</i> file can be updated in the <i>Rec. Detail</i> tab. | note
8 | 80 | You will notice that in the <i>Redline</i> file that one of the “redline” changes is done to the "BASIS" of the equipment, and the other change is the removal of the “SPECIAL INSTRUCTIONS”. | p
8 | 81 | modify-tour-record/manage-tour-report4 | img
8 | 82 |  | divclose
8 | 83 | pages | divopen
8 | 84 | The “BASIS” can be found in <i>eSOMS</i> in the ‘Long Instructions” field, and the “SPECIAL INSTRUCTIONS” is represented in <i>eSOMS</i> by the ‘Short Instr.’ Field. | p
8 | 85 | modify-tour-record/manage-tour-img7 | img
8 | 86 |  | divclose
8 | 87 | pages | divopen
8 | 88 | Based on the example I will simply need to delete the input for ‘Short Instr.” and change the "BASIS" value in the ‘Long Instructions’ from the current “ES” to the desired value of “OSD-31”. The result should resemble the form shown in the following image. | p
8 | 89 | modify-tour-record/manage-tour-img8 | img
8 | 90 |  | divclose
8 | 91 | pages | divopen
8 | 92 | That’s it, this station record has been properly updated. Of course these identical changes need to occur in STA(51) as well, but the method of finding the record and updating it will be the same process as shown here. As always, it is recommended to “click” the <i>Save</i> icon before exiting to ensure your work is saved. | p
8 | 93 | Also, before these changes can take effect, it is necessary to follow the steps necessary for getting the appropriate revision approvals. More information on getting a revision approved can be found in the <a href='create-tour#revision-approvals' target="_blank"><i>Revision Approvals</i></a> section of this tutorial. | p
8 | 94 |  | divclose
8 | 95 |  | divclose
9 | 1 | pages | divmain
9 | 2 | Change Record Status | pagetitle
9 | 3 | pages | divopen
9 | 4 | Introduction | h1
9 | 5 | Another common and fundamental application of <i>eSOMS</i> is changing a record status from “active” to “inactive” or vice-versa. This may be the result of replacing a piece of equipment which would then require a new equipment ID, or it could be the result of a station being temporarily disabled due to repairs. For whatever reason it is important to understand how to change the status of a tour record. Follow the steps below to learn how to change the status of a tour record. | p
9 | 6 | pages | break
9 | 7 | Inactivate Record | h1 id="inactivate-record"
9 | 8 | To change the status of an equipment record in <i>eSOMS</i> you must first select the <i>Maintenance</i> tool found under the <i>Operator Rounds</i> dropdown menu. | p
9 | 9 | change-record-status/change-status-img1 | img
9 | 10 |  | divclose
9 | 11 | pages | divopen
9 | 12 | In the left-hand side of the window you should see a column with 3 root “collapsible” menus, one titled <i>Revised</i>, another <i>Active</i>, and the third <i>Archived</i>. Ensure the <i>Revised</i> menu is expanded, then expand the specific tour that contains the record you wish to change. With the appropriate tour menu expanded, your menu should resemble the screen in the following image. | p
9 | 13 | change-record-status/change-status-img2 | img
9 | 14 |  | divclose
9 | 15 | pages | divopen
9 | 16 | Note: To change the status of a tour the current revision of the tour must be present in the <i>Revised</i> menu. | note
9 | 17 | If you are able to find a revision for the desired tour in the <i>Active</i> menu, but there is not a revision present in the <i>Revised</i> menu then you need to have a copy of the current revision moved to <i>Revised</i>. How to create a copy of the current tour revision in the <i>Revised</i> menu is covered in the <a href='modify-tour-record#active-revised' target="_blank"><i>Active to Revised</i></a> section of this tutorial. | p
9 | 18 | Note: Anytime a revision is found in either the <i>Active</i> or <i>Revised</i> sections, it will always be the current revision. | note
9 | 19 | In the example we will change the status of a record in the “TF-OR-QR-AN” tour. Once the current revision is present for the appropriate tour, inside the <i>Revised</i> menu, then you need to expand the revision so that all of the tour records are visible. Once the records are all visible, then you can use a “Ctrl-F” to locate a desired tour record. | p
9 | 20 | When you locate the desired tour record simply “right click” on it, and select <i>Inactivate Record</i> from the dropdown menu. That is it, the record is now “inactive”. | p
9 | 21 | change-record-status/change-status-img3 | img
9 | 22 |  | divclose
9 | 23 | pages | divopen
9 | 24 | You will notice that the tour has moved to the bottom of the list of records and that the icon next to the record now has a red “X” through it. This signifies that the record has been changed to “inactive”. Information pertaining to this status change can also be viewed, i.e. date and time, and who made the change, by "clicking" the ‘Change Log’ tab for the equipment record. | p
9 | 25 | change-record-status/change-status-img4 | img
9 | 26 | pages | break
9 | 27 | Activate Record | h1 id="activate-record"
9 | 28 | “Activating” a currently inactive record follows the same initial procedure as “inactivating” a record. When you reach the point where you can locate the “inactive” record in the list tour records, then simply “right click” on the record and select <i>Activate Record</i> option from the dropdown menu. | p
9 | 29 | change-record-status/change-status-img5 | img
9 | 30 |  | divclose
9 | 31 | pages | divopen
9 | 32 | Note: Remember, “inactive” records will always be located at the bottom of the list. | note
9 | 33 | After “activating” the record you will notice that the red “X” has been removed from the icon which signifies that the record is once again "active". Information pertaining to this change in status will also been recorded under the ‘Change Log’ tab of the equipment record. This includes what change was made, the date and time, and who made the change. | p
9 | 34 | change-record-status/change-status-img6 | img
9 | 35 |  | divclose
9 | 36 | pages | divopen
9 | 37 | When “activating” a previously “inactive” record there is one additional step needed. When a record is changed to an “active” status the record still remains at the bottom of the list of tour records, but this is likely not where it belongs. | p
9 | 38 | To move the record, simply “click” on it, and drag it to the appropriate location. | p
9 | 39 | Note: It is crucial to understand that tour records are not stored in order of their station numbers, station numbers are referred to as ‘Rec’ numbers in <i>eSOMS</i>, but instead are stored in ascending numerical order by their sequence numbers. These sequence numbers are referred to as a ‘Seq’ number in <i>eSOMS</i>. | note
9 | 40 | change-record-status/change-status-img7 | img
9 | 41 |  | divclose
9 | 42 | pages | divopen
9 | 43 | If you are unsure of the location for the record then you can check the sequence number of the previous revision in the <i>Archived</i> menu. Otherwise you may simply contact <a href="mailto:ERADM@rl.gov?subject=eSOMS system support"><i>eRounds Admin</i></a>. | p
9 | 44 | Now that the record has been “activated” and moved to the appropriate location in the sequence, the task is complete. | p
9 | 45 | Before these changes can take effect though, it is necessary to follow the steps necessary for getting the appropriate revision approvals. More information on getting a revision approved can be found in the <a href='create-tour#revision-approvals' target="_blank"><i>Revision Approvals</i></a> section of this tutorial. | p
9 | 46 |  | divclose
9 | 47 |  | divclose
10 | 1 | pages | divmain
10 | 2 | Search Equipment | pagetitle
10 | 3 | pages | divopen
10 | 4 | Introduction | h1
10 | 5 | There are two tools that can be used to search the database for specific pieces of equipment on the <i>eSOMS</i> web application. The first tool which will be discussed is the <i>Find</i> tool, followed by the <i>Query</i> tool. The <i>Find</i> method of searching has many similarities to the standard search tools found on most websites or on a search engine so much of the functionality should come naturally, but there are a few key quirks which you may find unique to this particular search engine. Follow the steps below to learn how to effectively use the <i>Find</i> tool when searching for equipment. | p
10 | 6 | pages | break
10 | 7 | Using <i>Find</i> Tool | h1 id="using-find"
10 | 8 | To search for equipment using the <i>Find</i> tool, select the <i>Search</i> option in the <i>Equipment</i> dropdown menu. | p
10 | 9 | find-equip/dropdown-search | img
10 | 10 |  | divclose
10 | 11 | pages | divopen
10 | 12 | The <i>Find</i> search tool is the page’s default tab so it should be automatically loaded when <i>Search</i> is selected. The form on the page will include a field for each of the different equipment attributes. | p
10 | 13 | find-equip/find-img3 | img
10 | 14 |  | divclose
10 | 15 | pages | divopen
10 | 16 | Note: It is important to note that both 'Equipment ID' and 'ID', as well as, 'Farm' and 'Location' provide the same function as one-another, and produce the exact same search results. The only difference between them is that the latter of each pair allows the user to enter lower-case letters. Since there are absolutely <b><u>NO</u></b> lower-case letters used for equipment IDs or locations, I would suggest only using the 'Equipment ID' and 'Farm' fields and to disregard the 'ID' and 'Location' fields. | note
10 | 17 | pages | break
10 | 18 | Wildcard Notation | h1 id="wildcard-notation"
10 | 19 | The most foreign feature of this search engine would be the usage of a "wildcard" notation, a feature which is commonly used in database queries. Though it may seem unusual at first, once you understand how to use the 'wildcard' notation you will save yourself a great deal of both time and frustration. | p
10 | 20 | Let’s say you are searching for an actively used, 'thermocouple tree' which is located in the 'AP' tank farm on tank number '106'. Utilizing this information and by using the standard naming convention equipment IDs, you can determine that the 'Equipment ID' begins with "AP106", and that "THERMOCOUPLE TREE" should be somewhere in the 'Equipment Description' field. Based on this, a reasonable search could resemble the following... | p
10 | 21 | find-equip/find-img4 | img
10 | 22 |  | divclose
10 | 23 | pages | divopen
10 | 24 | This search will not return with the intended results; in fact it will return with <u>zero</u> results. The problem with this particular search is that "THERMOCOUPLE TREE" is not the full, identical value stored for equipment description in the database. | p
10 | 25 | find-equip/find-img5 | img
10 | 26 |  | divclose
10 | 27 | pages | divopen
10 | 28 | As you can see in the image above... | p
10 | 29 | <table><tr><td><p>PRIMARY TANK THERMOCOUPLE TREE; 414” (412)(PERM INST T/C PROBS 412 IN)</p></td></tr></table><br> | AsIs
10 | 30 | ...is the value stored for the equipment description in its entirety. Being able to memorize these entire descriptions would be impractical. This is where "wildcards" come in handy. | p
10 | 31 | pages | break
10 | 32 | What is a Wildcard | h1
10 | 33 | A "wildcard" is a specific character on a keyboard that can be used to represent or replace one or more characters when performing a search. In this particular application, the "wildcards" used are the percent sign ( <b>%</b> ) and the underscore ( <b>_</b> ). The percent sign can be used to represent zero, one or multiple characters, and the underscore can only be used to represent only a single character. | p
10 | 34 | <table cellspacing="0" cellpadding="0"><tr><th><h2>Wildcards</h2></th><th><h2>Description</h2></th></tr><tr><td><p>The percent sign (%)</p></td><td><p>Matches one or more characters</p></td></tr><tr><td><p>The underscore (_)</p></td><td><p>Matches one character</p></td></tr></table> <!-- table is used for visual representation of 'wildcards' --> | AsIs
10 | 35 |  | divclose
10 | 36 | pages | divopen
10 | 37 | Note: I recommend solely using the percent sign because it can be used to serve the same functionality as the underscore, but it also provides the additional and far more frequent functionality of representing multiple characters. | note
10 | 38 | pages | break
10 | 39 | Using a Wildcard | h1
10 | 40 | Using the same equipment description from our example we will review both valid and invalid search parameters. | p
10 | 41 | <table cellspacing="0" cellpadding="0"><tr><th><h2>Valid Inputs</h2></th><th><h2>Invalid Inputs</h2></th></tr><tr><td><p>%THERMOCOUPLE TREE%</p></td><td><p>THERMOCOUPLE TREE%</p></td></tr><tr><td><p>PRIMARY TANK THERMOCOUPLE%</p></td><td><p>PRIMARY TANK THERMOCOUPL_</p></td></tr><tr><td><p>_RIMARY TANK THERMOCOUPLE%</p></td><td><p>PRIMARY TANK THERMO_COUPLE%</p></td></tr><tr><td><p>PRIMARY TANK THERMO%COUPLE%</p></td><td><p>%PRIMARY%THERM%TANK%</p></td></tr><tr><td><p>%PRIMARY%THERM%</p></td><td>&nbsp;</td></tr><tr><td><p>________TANK THERMOCOUPLE%</p></td><td>&nbsp;</td></tr></table> | AsIs
10 | 42 |  | divclose
10 | 43 | pages | divopen
10 | 44 | When in doubt, just put the percent sign on both sides of your input. | p
10 | 45 | Note: For reasons unknown, if your input begins at the first character of the intended search result then "wildcards" are not necessary. For instance, this input also returns the intended search results. | note
10 | 46 | <table><tr><td><p>PRIMARY TANK THERMOCOUPLE</p></td></tr></table> | AsIs
10 | 47 | pages | break
10 | 48 | Additional <i>Find</i> Info | h1 id="additional-find"
10 | 49 | There are no required fields, or limits to how many fields in the <i>Find</i> form are used; you can use only one field, all fields, or even no fields when performing a search. As mentioned before, all searchable equipment records, which are ultimately stored in the database, solely use capital letters so make sure all of your input is <b>CAPITALIZED</b>. | p
10 | 50 | If the equipment you are searching for is operational and currently in use, then make sure the 'Status' field value is "=0". If the equipment is inactive then make sure the 'Status' field value is "=1". This can be accomplished be manually entering the value into the 'Status' field, or by simply selecting "Active" or "Inactive" from the dropdown menu. | p
10 | 51 | find-equip/find-img6 | img
10 | 52 |  | divclose
10 | 53 | pages | divopen
10 | 54 | Be careful how many "spaces" are used in your input. Unlike most search engines, additional spaces between words are <u><b>NOT</u></b> ignored. This means that if your input has an extra 'space', i.e. 2 or more spaces, between words you will return undesired results. Something else you should be aware of is that, for whatever reason, if a character in the middle of your input are deleted, then that index will automatically be replaced with a "space". Let’s say you’ve entered the following in the 'Equipment ID' field. | p
10 | 55 | find-equip/find-img8 | img
10 | 56 |  | divclose
10 | 57 | pages | divopen
10 | 58 | But then you realize the equipment is actually in tank farm 'A' so you try to simply erase the letter 'Z'. If you erase the 'Z', then you will get the following input. | p
10 | 59 | find-equip/find-img9 | img
10 | 60 |  | divclose
10 | 61 | pages | divopen
10 | 62 | You will find that removing these unwanted 'spaces' will prove much more difficult and time consuming then simply erasing the input and reentering it. If you have type an extra character, then, beginning with the last character, just 'backspace' until the unwanted character has been removed. | p
10 | 63 | The <i>Build Query</i> button located at the bottom of the form will load the <i>Query</i> tool, which can also accessed by simply selecting the <i>Query</i> tab at the top of the form. A third option is to load the <i>Query</i> tool by "clicking" the <i>Build Query</i> icon near the top-left corner of the window. | p
10 | 64 | find-equip/find-img7 | img
10 | 65 |  | divclose
10 | 66 | pages | divopen
10 | 67 | Queries provide a more robust and precise method to perform searches. Queries will be discussed in detail in the following <i>Query Equipment</i> section of this tutorial. | p
10 | 68 | pages | break
10 | 69 | Using <i>Query</i> Tool | h1 id="using-query"
10 | 70 | Submitting a database query is undoubtedly the most complex feature of the eRounds System. To understand how to use a database query you will first need a brief overview of what a query and a database are. | p
10 | 71 | <h2>What is a Database</h2> | AsIs
10 | 72 | A database, in its most basic characterization, is collection of information that is organized in a way that makes it easy to access, manage and update. All data, whether it is text, images, video or some other file, must be stored somewhere. On a personal computer a file would be stored on your hard drive and accessed by your operating system (i.e. Windows) when you "open" the file. Similar in purpose, a database is held on a hard drive on one or more computers but has the additional purpose of being accessed by many computers over a network connection. | p
10 | 73 | <h2>What is a Query</h2> | AsIs
10 | 74 | All websites and their text, images and their other files associated with the website are stored in a database. The way this information can be stored, viewed, and modified is through "querying" their respective database. A query is a request from, or a modification to a database in a language that a computer understands. For your purposes you will only need a very minor comprehension of queries. If you would like to learn more, then you can visit <a href="http://www.w3schools.com/sql/ " target="_blank"><i>w3schools.com</i></a> for a comprehensive SQL tutorial. | p
10 | 75 | There are several reasons why creating your own query might be useful when searching for equipment in <i>eSOMS</i>. A query provides an absolute level of precision and control when conducting a search. It allows you to narrow your search results dramatically by choosing what keywords are included and excluded from the search, and it can allow you to get search results with multiple conditions considered. | p
10 | 76 | pages | break
10 | 77 | The <i>OR</i> Operator | h1 id="OR-operator"
10 | 78 | let’s say we are searching for the "intake filter pressure differentials" from both tank number '106' and tank number '107' that are both located in tank farm 'AN'. Using the <i>Find</i> example from the previous section, we submit the following search: | p
10 | 79 | find-equip/find-img1 | img
10 | 80 |  | divclose
10 | 81 | pages | divopen
10 | 82 | Note: If you are not familiar the "wildcard" notation, i.e. '%' and '_' symbols, which are used for both "Search" tools in this application, please review the <a href='search-equip#wildcard-notation'><i>Wildcard Notation</i></a> section of the tutorial. | note
10 | 83 | Using a reasonable search with %AN% in the 'Farm' field, the 'Status' field set to "Active", and a keyword %PRESSURE% in the 'Equipment Description' field, we return close to '100' results. This may not seem like a big issue for you, but there is more effective way to conduct this search and return more relevant results. | p
10 | 84 | After an equipment search has been conducted using the <i>Find</i> method, the equivalent query is automatically displayed in the field under the 'Query' tab. This query is automatically stored after submitting a <i>Find</i> search with the above conditions: | p
10 | 85 | find-equip/query-img1 | img
10 | 86 |  | divclose
10 | 87 | pages | divopen
10 | 88 | What is important to understand is the relationship between the two methods. All the inputs from the <i>Find</i> method are accounted for in the query. The differences between the two are essentially only the variance in field names, i.e. 'Equipment Description' is used in the 'Find' tool while 'equip_description' represents the same data in the 'Query' field. The database actually stores the equipment description information using the latter of the two field names while the name "Equipment Description" from the <i>Find</i> tool is only meant to be read by humans so it is displayed in a way that’s easy to understand, in plain English. | p
10 | 89 | find-equip/query-img2 | img
10 | 90 |  | divclose
10 | 91 | pages | divopen
10 | 92 | For your purposes, you will not need to fully comprehend the structure of database queries to use them. You can simply "cut/paste" pieces of the automatically stored queries, and then replace the keyword which will always be denoted by single quotes. | p
10 | 93 | Let’s improve the results from the original search. First we need to ask ourselves, "What do we know?" Well, we know the tank numbers for the "intake filter pressure differentials" that we are concerned with, and we know that, by convention, tank numbers are included in the equipment description. | p
10 | 94 | The 'AND' command at the beginning of a query signifies that an additional condition will follow, and that condition must also be met by the query. If we want the current search but applied only to tank '106' and tank '107', then we would logically need to add an additional condition. So let’s "cut/paste" the line of the query which begins with the 'AND' and includes the 'equip_description' identifier. We can then replace the %PRESSURE% on this newly created copy with %106%. | p
10 | 95 | find-equip/query-img3 | img
10 | 96 |  | divclose
10 | 97 | pages | divopen
10 | 98 | It may seem intuitive to simply "cut/paste" an additional line and, again, replace the keyword with %107% and we’re done, but there is a modification that we must first make, and it may be a difficult step to comprehend. If we simply "paste" another copy of the same line and replace the keyword with %107% you would find that the query returns zero results. | p
10 | 99 | find-equip/query-img4 | img
10 | 100 |  | divclose
10 | 101 | pages | divopen
10 | 102 | The reason for this is because the query is literally looking for pieces of equipment which have both %106% and %107% in their descriptions. There are <u><b>NO</u></b> pieces of equipment that have both of those keywords in their description. What we are really looking for are pieces of equipment which have either %106% <i>OR</i> %107% in their descriptions. We need one or the other, but not both. | p
10 | 103 | To do this we need to use an 'OR' statement opposed to the 'AND' statement. Let’s add an 'OR' statement between the two segments. | p
10 | 104 | find-equip/query-img5 | img
10 | 105 |  | divclose
10 | 106 | pages | divopen
10 | 107 | This is the correct way to submit the query. This query returns less than 10 pieces of equipment; all of which are located in tank farm 'AN', are all currently "active", that all have the word "PRESSURE" in their descriptions, and which are all part of tank '106' or tank '107'. | p
10 | 108 | pages | break
10 | 109 | Statement Precedence | h1
10 | 110 | It is important to note the additional set of parenthesis from the previous example. | p
10 | 111 | find-equip/query-img9 | img
10 | 112 |  | divclose
10 | 113 | pages | divopen
10 | 114 | Without going into too much depth, these are used to modify the order in which the conditions are met. As an example, let’s say you wanted a cheeseburger and either a <i>Coke</i> or a <i>Pepsi</i>. Written down in a form similar to a query, it might look like this: | p
10 | 115 | <table><tr><td><p>Cheeseburger</p></td></tr><tr><td><p>AND Coke</p></td></tr><tr><td><p>OR Pepsi</p></td></tr></td></tr></table><br> | AsIs
10 | 116 | This statement is ambiguous though; there are unintended ways that the statement can be interpreted. A cheeseburger and a <i>Coke</i> could satisfy this statement, but so could only getting a <i>Pepsi</i>. By using parenthesis, you could rewrite this statement as to be more clear: | p
10 | 117 | <table><tr><td><p>Cheeseburger</p></td></tr><tr><td><p>AND ( Coke OR Pepsi )</p></td></tr></table><br> | AsIs
10 | 118 | This statement makes it clear that the "Coke OR Pepsi" statement must be evaluated separate from the 'AND'. This is the same notation that must be used in your queries in order for the computer to evaluate the statement inside the parenthesis prior to evaluating any other statements. For your purposes, including an 'OR' conjunction in a query is the only foreseeable reason that additional parenthesis would be needed. | p
10 | 119 | pages | break
10 | 120 | The <i>NOT</i> Condition | h1 id="NOT-condition"
10 | 121 | Another advantage to building a query is the ability to exclude keywords. Let’s say you are searching for the equipment ID of an "active" sensor that is located in tank farm 'AN'. You know that the sensor is referred to as an "indicator" by its description, and you know that it is <u>not</u> a pressure sensor. Using the <i>Find</i> search tool we submit the following: | p
10 | 122 | find-equip/find-img2 | img
10 | 123 |  | divclose
10 | 124 | pages | divopen
10 | 125 | Using this reasonable search with %AN% in the 'Farm' field, the 'Status' field set to "Active", and a keyword %INDICATOR% in the 'Equipment Description' field, we return close to 70 results. As we did above we can click on the <i>Query</i> tab to view the automatically stored query which produced these results. | p
10 | 126 | find-equip/query-img6 | img
10 | 127 |  | divclose
10 | 128 | pages | divopen
10 | 129 | Again, we can build a much more effective query to narrow our results. Similarly to before, we will "cut/paste" the second line of stored query to directly below the original, and then replace the keyword %INDICATOR% from the copy with %PRESSURE%. It should resemble the following: | p
10 | 130 | find-equip/query-img7 | img
10 | 131 |  | divclose
10 | 132 | pages | divopen
10 | 133 | This doesn’t quite narrow our results enough though. We know the sensor is not a pressure sensor, thus should <u>not</u> contain the word pressure in its equipment description. To exclude words from a query we simply add the keyword 'NOT' prior to the occurrence of the 'LIKE' command. | p
10 | 134 | find-equip/query-img8 | img
10 | 135 |  | divclose
10 | 136 | pages | divopen
10 | 137 | This query produces our desired results. This simple method of adding a 'NOT' statement to a query is the way to exclude words or phrases from a field in an equipment search. There are approximately 20 results returned from this query which all fit nicely on a single page. | p
10 | 138 | Note: For your purpose, the other commands included in the query structure, i.e. 'UPPER', and 'WHERE', should not be altered. | note
10 | 139 |  | divclose
10 | 140 |  | divclose
11 | 1 | pages | divmain
11 | 2 | Manage Equipment | pagetitle
11 | 3 | pages | divopen
11 | 4 | Introduction | h1
11 | 5 | The <i>Manage Equipment</i> tool allows the user to add, remove, & copy equipment records. It can be found in the <i>Equipment</i> dropdown menu. | p
11 | 6 | manage-equip/dropdown-manage | img
11 | 7 | pages | break
11 | 8 | Add Equipment | h1 id="add-equip"
11 | 9 | To add a piece of equipment to the <i>eSOMS</i> database, first "click" the <i>New record</i> icon shown in the image below. | p
11 | 10 | manage-equip/manage-img1 | img
11 | 11 |  | divclose
11 | 12 | pages | divopen
11 | 13 | Fill out the appropriate fields in the form, and make sure the correct status of the equipment is selected from the dropdown menu. | p
11 | 14 | Note: You must contact <i>eRounds Admin</i> to ensure the <i>Pi Tag Name</i> for the signal of the new equipment is created. This is necessary for linking the appropriate sensor to its corresponding equipment. | note
11 | 15 | <table><tr><td><p>eRounds Admin: </p></td><td><p><a href="mailto:ERADM@rl.gov?subject=eSOMS system support"><i> ERADM@rl.gov.</i></a></p></td></tr></table> | AsIs
11 | 16 |  | divclose
11 | 17 | pages | divopen
11 | 18 | Most <i>Pi Tag Name</i> fields share a common naming convention. You may notice in the image below that both the <i>Equipment ID</i> and the <i>Pi Tag Name</i> are nearly identical with the exception of the equipment description acronyms. This is because the <i>Pi Tag Name</i> is concerned with a sensor for a piece of equipment. "LIT" represents "Level Indicating Transmitter" while the "LI" simply represents the "Level Indicator". Equipment records for indicators generally share the same <i>Equipment ID</i> and <i>Pi Tag Name</i>. | p
11 | 19 | manage-equip/manage-img8 | img
11 | 20 |  | divclose
11 | 21 | pages | divopen
11 | 22 | This naming convention is standard on most <i>Pi Tag Name</i> fields. Though you must still contact <i>eRounds Admin</i> to ensure the database will be correctly linked to the equipment, the following table will show the changes in the equipment description acronym portion of the <i>Pi Tag Name</i> for most equipment records. | p
11 | 23 | <table cellspacing="0" cellpadding="0"><tr><th><h2>Equipment Description</h2></th><th><h2>Equipment ID</h2></th><th><h2>PI Tag Name</h2></th></tr><tr><td><p>Exhauster Motor</p></td><td><p>M</p></td><td><p>M</p></td></tr><tr><td><p>Exhaust Outlet Pressure Indicator</p></td><td><p>PDIS</p></td><td><p>PDIS</p></td></tr><tr><td><p>Level Indicating Transmitter</p></td><td><p>LIT</p></td><td><p>LI</p></td></tr><tr><td><p>Pressure Differential Intake</p></td><td><p>PDI</p></td><td><p>PDI</p></td></tr><tr><td><p>Pressure Differential Indicating Transmitter</p></td><td><p>PDIT</p></td><td><p>PDI</p></td></tr><tr><td><p>Pressure Indicator</p></td><td><p>PI</p></td><td><p>PI</p></td></tr><tr><td><p>Radiation Analysis Transmitter</p></td><td><p>RT</p></td><td><p>RI</p></td></tr><tr><td><p>Seal Pot</p></td><td><p>SP</p></td><td><p>SG</p></td></tr><tr><td><p>Sight Glass</p></td><td><p>SG</p></td><td><p>SG</p></td></tr><tr><td><p>Temperature Element</p></td><td><p>TE</p></td><td><p>TI</p></td></tr><tr><td><p>Valve</p></td><td><p>V</p></td><td><p>V</p></td></tr><tr><td><p>Weight Factor Transmitter</p></td><td><p>WFT</p></td><td><p>WFI</p></td></tr></table> | AsIs
11 | 24 |  | divclose
11 | 25 | pages | divopen
11 | 26 | The auto-save feature should automatically submit the input, but, to be safe, it is recommended to always "click" the <i>Save</i> icon located near the top-left corner of the field. | p
11 | 27 | manage-equip/manage-img4 | img
11 | 28 |  | divclose
11 | 29 | pages | divopen
11 | 30 | Your equipment should now be stored in the database and accessible via eSOMS. You can verify this by performing an equipment search. Information on performing an equipment search can be found in the <a href='search-equip#using-find' target="_blank"><i>Using Find Tool</i></a> section of the tutorial. | p
11 | 31 | pages | break
11 | 32 | Remove Equipment | h1 id="remove-equip"
11 | 33 | To remove a piece of equipment from the <i>eSOMS</i> database, you must either enter the <i>Equipment ID</i>, also commonly referred to as the "EIN#", or you can use the <i>Find</i> equipment tool to search for and select the appropriate equipment. When using the search method, after the equipment record is found, simply "click" on the <i>Equipment ID</i> link, and you will be returned to the <i>Manage Equipment</i> interface with the specified record selected. | p
11 | 34 | manage-equip/manage-img5 | img
11 | 35 |  | divclose
11 | 36 | pages | divopen
11 | 37 | When the desired equipment ID is present in the <i>ID</i> field, "click" the <i>Delete record</i> icon shown in the image below. | p
11 | 38 | manage-equip/manage-img2 | img
11 | 39 |  | divclose
11 | 40 | pages | divopen
11 | 41 | The equipment should now be removed from the database. You can verify this by performing an additional search for the equipment ID using the <i>Find</i> equipment tool. | p
11 | 42 | pages | break
11 | 43 | Copy Equipment | h1 id="copy-equip"
11 | 44 | Copying can be useful when creating an equipment record which has only minor differences from another piece of equipment, i.e. a desired new equipment record only differs from another by location and/or equipment ID, etc. | p
11 | 45 | There are two options when making a copy of an equipment record from the eSOMS database. If you know the <i>Equipment ID</i>, also commonly referred to as the "EIN#", then you can enter it into the <i>ID</i> field of the form and "click" the <i>Copy</i> icon, or vice-versa. | p
11 | 46 | manage-equip/manage-img3 | img
11 | 47 |  | divclose
11 | 48 | pages | divopen
11 | 49 | The other option is using the <i>Find</i> equipment tool to search for and select the appropriate equipment. Information on performing an equipment search can be found in the <a href='search-equip#using-find' target="_blank"><i>Using Find Tool</i></a> section of the tutorial. When using the search method, after finding the equipment simply "click" on the <i>Equipment ID</i> link, and you will be returned to the <i>Manage Equipment</i> interface with that equipment selected. Then "click" the <i>Copy</i> icon. | p
11 | 50 | manage-equip/manage-img5 | img
11 | 51 |  | divclose
11 | 52 | pages | divopen
11 | 53 | After the <i>Copy</i> icon is "clicked", a new form will be appear with a <i>Copy From</i> and a <i>Copy To</i> field, along with a check-list of possible equipment attributes which can be transfered to the new copy. Make sure the new equipment record has a different name then the original. Use the <i>Builder</i> buttons to populate the <i>Copy</i> fields, and then select the appropriate attributes to be copied. "Click" <i>OK</i>. | p
11 | 54 | Note: When the <i>Builder</i> button that corresponds to the <b><i>Copy To</i></b> field is selected, make sure the <b><i>Create New Record</i></b> box is checked. | note
11 | 55 | manage-equip/manage-img7 | img
11 | 56 |  | divclose
11 | 57 | pages | divopen
11 | 58 | A copy of the original equipment record with the newly created equipment ID should be created, and it should be stored in the database and be accessible via eSOMS. You can verify this by performing an additional search for the new equipment ID using the Find Equipment tool. | p
11 | 59 |  | divclose
11 | 60 |  | divclose
12 | 1 | pages | divmain
12 | 2 | Modify Equipment | pagetitle
12 | 3 | pages | divopen
12 | 4 | Introduction | h1
12 | 5 | Eventually you may need to make some change in an equipment record whether it be a change to the overall format of equipment IDs or location identifiers, or some minor change to a description. Opposed to just deleting the old equipment record, then creating a new record and replacing the values, you can save time by simply updating the existing record. Follow the steps below to learn how to modify an existing equipment record. | p
12 | 6 | Note: If there are more than 20 changes to equipment records that need to be made, then you can notify the <b>eRounds Admin</b> at <a href="mailto:ERADM@rl.gov?subject=eSOMS system support">ERADM@rl.gov</a>, and they can handle it. | note
12 | 7 | pages | break
12 | 8 | Locate Record | h1
12 | 9 | To modify an equipment record the first step is use one of <i>eSOMS</i> search tools to locate the desired equipment record. You can search for the equipment record using either the <i>Find</i> or <i>Query</i> tools by selecting <i>Search</i> from the <i>Equipment</i> dropdown menu. Detailed instructions for how to search for a specific equipment record using either the <a href='search-equip#using-find' target="_blank"><i>Using Find Tool</i></a> or <a href='search-equip#using-query' target="_blank"><i>Using Query Tool</i></a> sections of this tutorial. | p
12 | 10 | Let’s say we have a pressure differential indicator in tank farm 'AN' with an equipment ID being 'AN108-WST-PDI-258A', but we need to change the equipment ID while keeping the other remaining attributes the same. We first find the correct equipment record using the search engine and select the entry with the appropriate <i>Equipment ID</i>. | p
12 | 11 | modify-equip/modify-find | img
12 | 12 |  | divclose
12 | 13 | pages | divopen
12 | 14 | This will return you to the <i>Manage Equipment</i> window of the application with the form populated with the correct equipment record and all of its attributes. | p
12 | 15 | modify-equip/modify-equipment1 | img
12 | 16 | pages | break
12 | 17 | Update Record | h1 id="update-record"
12 | 18 | To modify this record simply replace the existing field value with the new desired value, and then “click” the <i>Save</i> icon. | p
12 | 19 | modify-equip/modify-equipment2 | img
12 | 20 |  | divclose
12 | 21 | pages | divopen
12 | 22 | Note: There is an auto-save feature on the program that is supposed to save any update to an equipment record without the need for "clicking" the <b>Save</b> icon. I would recommend "clicking" the <b>Save</b> icon just to be safe, that way you are not relying on the precision of this program. | note
12 | 23 | That’s it, the record is updated! | p
12 | 24 | To confirm that your update has been made simply perform an additional search for the equipment record and see if the intended changes are present. | p
12 | 25 | pages | break
12 | 26 | Undo Changes | h1 id="undo-change"
12 | 27 | A useful tool for "undoing" a change made to an equipment record, or just for another way to confirm changes that have been made, is by viewing the <i>Change Log</i>. The <i>Change Log</i> is accessed via the <i>Manage Equipment</i> tool that is selected from the <i>Equipment</i> dropdown menu. When the <i>Manage Equipment</i> interface is open, and the correct equipment record is present, then "click" on the <i>Status</i> tab. | p
12 | 28 | modify-equip/modify-changelog | img
12 | 29 |  | divclose
12 | 30 | pages | divopen
12 | 31 | The form located in the <i>Status</i> tab includes information on <i>Active Events</i>; for something to appear in <i>Active Events</i>, there must be an operator who is currently conducting a tour, and that tour includes recording a reading from the piece of equipment. An <i>Event History</i> is also included in the form, and this provides details and readings for the equipment record from previously conducted tours. | p
12 | 32 | To "undo" a change, the <i>Change Log</i> at the bottom of the window is the only thing that is of concern. Taking into account the prior example, you may notice that the most recent entry in the <i>Change Log</i> shows that there has been an alteration to the equipment record. Both the 'Farm' value and the 'Location' value have been changed to "NEW-LOCATION". By default, the <i>Change Log</i> displays entries by date in descending order; if the desired "change" occured prior to the entries in the initial window, then you can simply search for it on another page by "clicking" an alternate page number near the bottom-right corner of the field, or by using one of the arrow icons identified in the previous image. | p
12 | 33 | Note: The reason why there are 2 entries created for this particular change is because both the 'Location' and the 'Farm' point to the same value in the database. For your purposes, this just means that the two fields hold the same value, and anytime the 'Location' field is modified, the 'Farm' field will also be modified with an identical value. | note
12 | 34 | To undo the change, simply "copy" the desired value, in this example it would be '241-AN-108', and return to the <i>Detail</i> tab to "paste" this value into the 'Location' field. As recommended, remember to "click" the <i>Save</i> icon before exiting the page. | p
12 | 35 | modify-equip/modify-equipment3 | img
12 | 36 |  | divclose
12 | 37 | pages | divopen
12 | 38 | Now the value stored in the 'Location' field for this specific record has been reverted back to its previous value. This is how to undo an unwanted change to an equipment record. To confirm the change, you can once again return to the <i>Status</i> tab and check the <i>Change Log</i>. | p
12 | 39 |  | divclose
12 | 40 |  | divclose